Construction of Oxfam T10 Tank

Materials needed (materials are in Kit unless otherwise noted):

Tank, liner, and roof

Tool Kit

Duct tape (note: Kit contains tape but replacement is required)

Gloves (not included in Kit)

- Steps

- Unpack tank

- Level site

- Construct tank, install liner and roof

- Disassemble tank

- Additional Activities

- Liner repair

- Chemical treatment

- Set up of bladder and/or tapstand