Federation WatSan Disaster Response Kit Training

Background

In an effort to increase emergency response capacity, the Federation is establishing pre-positioned Kits in a number of locations at Zonal, Regional and Country level.  Training of National Society staff and volunteers is critical for

This training package contains a sample schedule, presentations, and notes for facilitators.

Training Overview

The training consisted of two days of classroom lectures, four days of field work, and two days for review and planning.  A timetable is included in Appendix A.

The classroom work covers the following topics:

- Introduction to WatSan

- Federation WatSan equipment

- Mission preparation

- Assessment

- Sphere

- Water treatment

- Hygiene promotion

- Sanitation

- Household water treatment and safe storage

The field work consists of four work stations.  The participants are split into 4 groups that rotate to a different station each day.  The four stations are:

- Construction of T10 Oxfam tank

- Operation of water treatment filtration unit

- Hygiene Promotion Box

- Del agua kit, rapid latrine, latrine slab, vector control, and disaster response planning case study

Training Venue and Material Requirements

The first two days of training needs some kind of classroom, preferably with a projector for powerpoints.  For the field training, the trainees break into four groups that rotate to a different workstation each day.  So the trainers run the same station for four days.  The workstations require space and a source of water.  Space to build an Oxfam tank, set up the filter unit, and possibly make some concrete.  A water source in order to run the filter unit.  On the water source, most of the water used is returned to the source (and cleaner than we found it!) so there shouldn't be concerns of pollution or taking water.

Besides normal training stationary, there may be a need to buy a few things like cement, timber, etc. (but not much, most of the supplies needed are in the Kit).  Specific material requirements are included in the notes to facilitators.

In some cases a hotel that has a classroom, workspace, and a source of water is available.  In others, the classroom and field site are in different locations.  As long as meals and transport are arranged, either arrangement works fine.

Depending on the language abilities of the participants and trainers, simultaneous translation for the presentations and interpreters for the field workstations may be required.

Participants

The training should not have more than 25 participants.  But 15-20 or less is much more manageable.

Participants should have experience and technical expertise in water, sanitation, or hygiene promotion.

Participants should be warned that the training will require work clothes and boots.

Facilitators

In total the training requires at least 4 facilitators, so that each workstation is covered.  Obviously, the more that can be found in country or regionally the better.  However, the Geneva WatSan Unit can assist in finding training facilitators.

For the classroom sessions, the training requires one or more persons comfortable with powerpoint presentations and technically capable of covering the following topics:

- General Watsan

- Federation Global DR Tools

- Water treatment

- Household water treatment

- Sanitation

- Hygiene promotion

- Sphere

- Assessment

At least four facilitators are needed for the workstations, each proficient in (not merely familiar with) one of the following topics:

- Construction of T10 Oxfam tank

- Operation of 4m3/hr water filter unit

- Hygiene promotion

- Del agua kit and vector control

Modification of Presentations or Schedule

The presentations included in this training package may not be appropriate for every training context.  Generally speaking, facilitators are free to change the layout, etc.  Any significant change to technical content should be approved by the WatSan Unit in Geneva.

The sample schedule can be adjusted as needed.