Assembly and construction of 4m3/hr filtration unit

Materials needed (materials are in Kit):

Pump

Flocculation and coagulation chambers

Hoses

Filter unit

Wrenches

Coagulant and flocculant

Chlorine

Water source needs to be plentiful and, if possible, somewhat turbid

- Steps:

- Give overview of unit, assembly, and operation

- Unpack unit and other items

- Assemble items

- Determine coagulant and flocculant type

- Operate unit, including backwash and chlorination

- Disassemble and re-pack

- Warning:  The LMS unit has experienced problems of clogged multi-port valves and breakage of the inlet and outlet elbows on the valve.  Take care when connecting hoses to the unit.