September 2006

Post-Hurricane Mitch Community Reconstruction

Water and Sanitation Evaluation

Long-term Follow-up on Water and Sanitation Interventions in Central America

(Program sustainability)

February 12 – 27, 2006

# Final Report

# Prepared by the Centers for Disease Control and Prevention

# National Center for Environmental Health

# Health Studies Branch

Environmental Health Services Branch

# Atlanta, Georgia

# For the

# American Red Cross

International Services

Washington, DC

Table of Contents

Page Number

List of Figures											ii

List of Tables											ii

Investigators and Collaborators								iii

Executive Summary										ES1

1	Introduction										6

1.1	Background										6

1.2	Purpose of the Sustainability Evaluation						7

1.3	USAID Indicators									8

2	Methods										9

2.1	Study Location									9

2.2	Sample Size										10

2.3	Statistical Analysis									10

2.4	Evaluation Components								11

2.4.1	Household Questionnaire and Interview					11

2.4.2	Water Sampling and Analysis							13

2.4.3	Community Questionnaire and Interview					13

2.4.4	Infrastructure Evaluation							13

3	Results											14

3.1	Household Questionnaire Results							14

3.2	Water Sampling Results								18

3.3	Community Questionnaire Results							21

3.3.1	Nicaragua									24

3.3.2	Honduras									25

3.3.3	El Salvador									27

3.3.4	Guatemala									28

3.4	Infrastructure Evaluation Results							30

3.4.1	Nicaragua									30

3.4.2	Honduras									31

3.4.3	El Salvador									33

3.4.4	Guatemala									34

4	Strengths and Limitations								35

5	Discussion										36

5.1	Results											36

5.1.1	Household Questionnaires							37

5.1.2	Qualitative Water Sample Results						40

5.1.3	Community Questionnaires and Infrastructure Evaluation			41

5.2	Other USAID Indicators								43

6	Conclusions and Recommendations							45

References

# Appendices

# Performance Indicators

# Household questionnaire

# Community questionnaire

# Infrastructure questionnaire

# Financial assessment of water system Operations in Las Pozas, El Salvador

# Household questionnaire with frequencies

List of Tables										     Page Number

- USAID Indicators Used to Evaluate Program Sustainability				8

- Study Locations										9

- Total Number of Surveys Completed and Number of Water Samples Collected	14

- Household Water Collection and Storage							15

- Distribution of Those Who Never Treat Drinking Water					16

- Sanitation Facility Evaluation								16

- Hand Washing Behaviors and Education							18

- Total Number of Water Samples								19

- Qualitative Results for Household Water Samples					19

- Qualitative Results for Tap Water Samples						20

- Qualitative Results for Community Water Sources					20

- Free Chlorine Residuals in Water Systems Using Chlorine Treatment			21

- Community Survey Results								22

- USAID Guide Indicators Comparison							36

- Indicators Used to Measure Interventions						39

Investigators and Collaborators

# Centers for Disease Control & Prevention, Atlanta, GA

# National Center for Environmental Health

--Division of Environmental Hazards and Health Effects

Raquel I. Sabogal, MSPH

Jane Horton, MPH

Carolyn Monteilh, PhD

Lana Corrales, MPH

-- Division of Emergency and Environmental Health Services

Rick Gelting, PhD

# Red Cross

# International Services, Washington, DC

Sergio Denegri

Mark Toy

# In-country Red Cross (RC)

# Carmen Maria Garcia Bucardo, Nicaraguan RC

# Joel Duron, Honduran RC

# Dr. Salvador Molina, El Salvador RC

# Other

# Maria Guadalupe H. de Guzman, Chief of the Central Public Health Laboratory, Ministry of Health, El Salvador

# Roberto Morales Juarez, Senior Environmental Policy Advisor, USAID Guatemala

1	Introduction

In February, 2006, at the request of the American Red Cross (ARC), a team of Centers for Disease Control and Prevention (CDC) investigators conducted a survey of the long-term sustainability of ARC-funded water and sanitation interventions implemented following Hurricane Mitch.  This long-term evaluation of post-disaster water and sanitation construction and hygiene education interventions is a first for the ARC.  As part of the surveys conducted in this evaluation, CDC investigators interviewed household members and community water committee members about the viability of ARC-provided water systems, sanitation and hygiene education. Water systems were inspected from the source to the end user and water quality was assessed qualitatively. Sanitation systems were inspected.  Retention and application of hygiene education was queried.

1.1	Background

In the fall of 1998, Hurricane Mitch caused massive destruction in Central America, resulting in over 10,000 deaths and an estimated 500,000 individuals left homeless.  In response to infrastructure damage caused by the storm, the ARC funded the construction of water and sanitation systems and provided hygiene education to over 75,000 people in 110 communities in Nicaragua, Honduras, El Salvador, and Guatemala.  These interventions included providing household- or community-level running water, latrines, and public health hygiene education on hand washing and water treatment.  The stated goal of the interventions was to provide sustainable improvement to the health of people living in the affected areas.

In each community, ARC presented the costs and benefits of installing and maintaining a variety of water and sanitation systems.  Community representatives selected the type of water and sanitation system to install based upon the level of services they believed the community would be willing and able to support.

At the request of ARC, the CDC conducted three annual surveys in 2000, 2001 and 2002 to evaluate the effects of the ARC post-Hurricane Mitch interventions in two study areas from each of the four countries.  During those initial surveys, CDC used metrics from the United States Agency for International Development (USAID) Food and Nutrition Technical Assistance (FANTA) Title 2 Water and Sanitation Indicators Measurement Guide (FANTA Guide) (Billig et al., 1999) to measure the outcomes of the ARC interventions.

In February 2000, a baseline survey was conducted prior to the construction of water and sanitation systems and the presentation of hygiene education.  Follow-up evaluation surveys were conducted in 2001 (mid-term) and 2002 (final) to assess the health impact of the completed interventions.  In all, 2309 households in the 8 study areas were surveyed.  A total of 265 household and 124 community water samples were collected and analyzed. Results of these surveys have been summarized and reported by the CDC in a Final Report (Moll et al., 2002).  The important metric of the health impact of the provision of water and sanitation services and hygiene education was the incidence of diarrhea among young children.

  - Purpose of the Sustainability Evaluation

A program sustainability evaluation of the ARC-funded water and sanitation projects was conducted in a subset of communities previously surveyed.  The purpose of the February 2006 survey was to:

1) examine the continued functioning and suitability of ARC-provisioned water and sanitation systems, and

2) measure the retention and application of hygiene education related to hand washing, water collection and treatment, and sanitation practices by individuals responsible for household water.

Like the three previous surveys, this survey included interviewing randomly selected households, obtaining interviews with community water committees, water sampling in homes, community water system and source samples and a water infrastructure evaluation.  In addition, community and household questionnaires solicited information about natural disasters or other problems affecting the sustainability of water and sanitation systems since 2000-2002 surveys.

1.3	USAID Indicators

ARC requested that CDC use the FANTA Guide indicators as the basis for measuring outcomes in each of the CDC surveys.  Evaluation of the water and sanitation interventions was done as part of a larger health and nutrition campaign that was conducted under the USAID Title II program.  Use of the FANTA Guide indicators provides a consistent set of performance indicators for assessing and reporting the effect of water and sanitation interventions in developing countries done under this program.

There are eight FANTA guide performance indicators which consists of four impact indicators and four monitoring indicators (provided in Appendix A).  The impact indicators assess the effect of the interventions on the behaviors and health status of the beneficiaries, and include measures of disease burden, hygiene behavior, and maintenance and use of water supply and sanitation facilities.  Monitoring indicators are used to evaluate the progress of the interventions in achieving programmatic goals.  The ability of each community to meet each of the performance indicators was evaluated during the baseline, mid-term and final surveys.

Data initially collected focused on evaluating and demonstrating the effectiveness of ARC interventions, specifically water and sanitation infrastructure and hygiene education.  The indicators in Table 1 were calculated to evaluate the three interventions using goals specified in the FANTA Guide or as recommended by the ARC.

Table 1.  USAID Indicators Used to Evaluate Program Sustainability

| Intervention | Performance Indicator | Description Of Indicator | Goal |
| --- | --- | --- | --- |
| Water Infrastructure | Monitoring Indicator #1 | Percent of households with year-round access to improved water source | 100%* |
| Sanitation Infrastructure | Monitoring Indicator #2 | Percent of households with access to sanitation facility | 100%* |
| Hygiene Education | Impact Indicator #3 | Percent of households with appropriate hand washing behavior (food preparer) | 50% inc. |
|  | Impact Indicator #4 | Percent of population using hygienic sanitation facilities | 75% usage |

* Goal was not defined in the USAID guide.  Goal established by the American Red Cross.

2	Methods

The sustainability evaluation had three components:

1) a cross-sectional household survey, which included a questionnaire, visual inspection of water and sanitation facilities, and evaluation of hygiene behaviors;

2) qualitative water sampling of community water sources and stored household water for indicators of microbial contamination; and

3) a key informant interview conducted with one or more members of the community water committee and an inspection/evaluation of the physical infrastructure to assess the functionality, maintenance and sustainability of the ARC-funded water and sanitation interventions.

  - Study Location

In February 2006, four years after the completion of the last set of surveys, ARC and CDC chose six study areas for the long-term sustainability evaluation.  The study areas and communities are listed in Table 2.

Table 2. Study Locations

| Country | Study Area* | Community |
| --- | --- | --- |
| Nicaragua | Nueva Segovia | Dipilto Nuevo and Dipilto Viejo |
|  | Waspam | Andres and Kum |
| Honduras | Marcovia |  |
|  | Las Lomas |  |
| El Salvador | Las Pozas |  |
|  | La Ceiba |  |
| Guatemala | Chiquimula | Plan Shalagua and Guayabo |
|  | Huitzitzil |  |

*Bolding indicates study areas in the 2006 program sustainability evaluation

There were two study areas excluded from the February 2006 sustainability surveys because water and sanitation interventions were not completely funded or maintained by the ARC.  In Nicaragua, only half of the study area in Waspam received water and sanitation interventions from ARC post-Hurricane Mitch resulting in too small a sample of homes.  Waspam is located in a remote rural area in the north east of Nicaragua along the Honduran border and not easily accessed.  Dipilto Nuevo and Viejo also did not receive ARC water systems, however, these two communities are included in this evaluation as they are easily accessible by road.  Huitzitzil, in Guatemala, was excluded as it did not have baseline data collected in 2000 and did not have a water system intervention funded by ARC.  This community was using shallow dug wells and bottled water.

2.2	Sample Size

During the 2000-2002 surveys, sample size calculations were based upon the number of households to be interviewed in order to detect a statistically significant change in hand washing behaviors after the intervention.  The USAID indicator for hand washing behaviors estimates that the practice of proper hand washing behaviors occurs in 20% of households prior to an intervention and is predicted to increase to 40% following the intervention.  Based upon a probability of alpha = 0.05 and 80% power, a sample size of 91 households in each of the eight study areas was calculated.

For this present survey, sample size was calculated based upon the number of households needed to conduct statistical analysis of the hand washing behaviors and other indicators on a regional, rather than local basis. The target sample size for the entire region, represented by six rather than eight study areas, was 94 households or 14-16 households per study area.  To account for refusals, a systematic sample (every xth household, based upon the size of the community) was selected from each study area.

2.3	Statistical Analysis

Data from household and community interviews were entered into Epi Info 2002 at the end of each day.  Data from individual study areas were pooled and descriptive statistics were calculated.  Additional analyses were performed by the CDC investigators after their return to Atlanta using SAS Software version 9.1.  Key demographic data and other frequency data of interest (e.g., primary water source) were compared to the regional results in the 2002 Final Report.

2.4	Evaluation Components

2.4.1	Household Questionnaire and Interview

The 2006 program sustainability household questionnaire was a condensed version of the original structured interview questionnaire used in 2000-2002.  Three CDC interviewers, working separately and each accompanied by a person from the community, completed the random household interviews.  Preferentially, the household member interviewed was an adult responsible for water use in the home. The household interview survey consisted of a questionnaire, a visual inspection of water and sanitation facilities in the household, an evaluation of hand washing and hygiene behaviors of the respondent, and a household water sample.

Household questionnaire

The household questionnaire used in previous surveys included questions that applied directly to the impact and monitoring indicators of the FANTA Guide (Billig et al., 1999).  In the 2006 questionnaire (Appendix B), questions concerning diarrhea among children less than 36 months were removed.  The rationale for removing these questions was two-fold, 1] in the initial survey the results clearly demonstrated that the interventions did reduce the incidence of diarrhea in children in these populations and 2] a large sample population had to be surveyed to demonstrate the decrease in the incidence of diarrhea.  The number of samples in the long-term survey would not be sufficient for this indicator.  Also, food preparers and childcare providers were questioned separately on proper hand washing behaviors in the initial survey.  In the present survey, questions were asked of the one person responsible for the family’s water use.  Questions were added regarding events, such as storms or hurricanes, that might have affected the household’s access to water or sanitation systems constructed since Hurricane Mitch.  Open-ended questions allowed the respondent, typically the female head of household, to comment on the adequacy of the available water and sanitation systems to meet the family’s needs and to discuss any problems encountered with the ARC-funded systems over the years since their construction.

Visual inspection of household water and sanitation systems

Visual inspection of the household water supplies and sanitation facilities was conducted by the interviewer using the same protocol that had been employed in the previous surveys.  Interviewers noted whether the household water could be contaminated by animals, whether drinking water was stored in covered containers and how it was dispensed from containers, and estimated the distance from the home to the primary water source.  A summary score for the condition of the latrine was calculated based upon information in the FANTA Guide.

Hand washing and hygiene behaviors

The respondent was asked whether they had received instructions on hand washing both during and in the period immediately after Hurricane Mitch and/or in the  subsequent years.  They were asked to demonstrate knowledge of proper hand washing techniques by both describing when hands should be washed and showing how their hands should be washed.  They were asked to demonstrate the actions of proper hand washing practice for the interviewer.  A standard checklist, identical to that used in the earlier surveys, was used to record the elements of proper hand washing observed by the interviewer.  A summary score was calculated.  The respondent also was asked whether they she had received instruction in water treatment, and whether the household water is regularly treated and the type of treatment.

Water samples

All water samples were tested for bacterial contamination using a Hach kit for total coliform bacteria and E.coli.  Approximately 100 ml of water from each source was collected in a sterile disposable bottle that contained a selective reagent/nutrient broth, MUG.  Samples were allowed to incubate at room temperature for 24 to 48 hours.  An ultraviolet light (UV) was used to determine fluorescence.  Color changes indicated the following:

Presence of total coliforms = yellow

Presence of E. coli = yellow + fluorescence

Absence of total coliforms and E. coli = red / purple

Water systems that used chlorine were also tested for chlorine residual using the Hach free chlorine test kit.

2.4.2	Water Sampling and Analysis

Water samples for qualitative evaluation were collected from each household and from community water system(s) in each study area.  Collection of household drinking water samples were from water stored in the home.  The study participant was asked to give the interviewer a cup of water from the water stored for drinking in the home, as if it were being offered for drinking.  Results from these samples are a measure of the proper handling of water in the household by the family member responsible for water in the home.   Tap water samples from the distribution systems were analyzed in a select number of homes in two study areas.  In all surveyed communities, water samples were collected at the community water source and from the distribution system when it reached the community.

2.4.3	Community Questionnaire and Interview

One or more members of the community water committee in each surveyed community were asked to respond to an interviewer-administered community questionnaire.  The questionnaire included questions about changes in the community since the installation of the ARC-funded water and sanitation systems, the continuing adequacy of the systems to meet the needs of the community, and problems with the water system or latrines.  A copy of the community survey is in Appendix C.

2.4.4	Infrastructure Evaluation

The water infrastructure evaluation (Appendix D) was completed by a CDC researcher with assistance from members of the ARC.  This evaluation included visual inspection of the water storage tanks, the chlorination system (if applicable), the distribution system and pipes, and the community water source(s).

Qualitative water samples were collected to determine if there was bacterial contamination at the source.  Water samples were also collected from the distribution system when it reached the community.  If chlorine was used then water was tested for chlorine residual.

- Results

Table 3 is a summary of the data collected in the six study areas.  Results are summarized by household surveys; water sampling results, which includes both household and community water sample results; community survey results; and infrastructure results.

Table 3.  Total Number of Surveys Completed and Number of Water Samples Collected

| Country | Community | Household Survey | Water Samples | Community Survey | Infrastructure Survey |
| --- | --- | --- | --- | --- | --- |
| Nicaragua | Dipilto Nuevo | 7 | 8 | 1 | 1 |
|  | Dipilto Viejo | 7 | 10 | 1 | 1 |
| Honduras | Marcovia | 16 | 18 | 1 | 1 |
|  | Las Lomas | 16 | 18 | 1 | 1 |
| El Salvador | Las Pozas | 16 | 20 | 1 | 1 |
|  | La Ceiba | 16 | 18 | 1 | 1 |
| Guatemala | Plan Shalagua | 8 | 9 | 1 | 1 |
|  | Guayabo | 8 | 12 | 1 | 1 |
| Total |  | 94 | 113 | 8 | 8 |

3.1	Household Questionnaire Results

Data was collected from 94 households, in which 536 individuals resided.  On average, five persons lived in each home (range 1 to 13).  Forty-one (44%) of the families included at least one child less than 36 months.

Water

Ninety percent (85/94) of the households obtained water for domestic uses from a community water system by means of a private tap located in the yard and 9% from a shared community spigot.  One person reported obtaining water from a well.  The median distance traveled to obtain water for domestic purposes was three meters (range 1 to 2500 meters).

Water availability and utilization was examined in several ways and results presented in Table 4.  Sixty-nine percent of households reported that the tap provided water all day and 76% reported having water available at all times of the year.  Most homes had a ‘pila,’ a concrete trough capable of storing several hundred liters of water or a 55 gallon drum, at or near the tap.  With these mass storage capabilities, even in communities where water was allowed to flow as little as one hour a day families reported having sufficient water for domestic uses readily available.  When evaluating availability using FANTA Guide criteria, only 36% (33/93) had adequate water supply (≥ 50 liters/day per capita).  However, 96% of the respondents said that the family had ‘enough water’ for daily uses.  Separate from the water held in the ‘pila,’ more than 90% of the families had drinking water stored in the home.  When the interviewer was able to observe household water storage, 83% (70/84) of the containers were covered.

Table 4.  Household Water Collection and Storage

|  | Total | n | Percent |
| --- | --- | --- | --- |
| Households with water all day from tap | 94 | 65 | 69 |
| Households with water all year from tap | 94 | 71 | 76 |
| Households with water stored in home | 94 | 88 | 94 |
| Households with drinking water in home | 94 | 87 | 93 |
| Covered drinking water in home* | 84 | 70 | 83 |
| Household with ‘enough water for daily needs’ | 94 | 91 | 97 |

* Water storage was not observed in 3 households (3%)

Thirty percent (28/94) of respondents said they had experienced no problems with the water system and had no suggestions for improving the system.  On a regional basis, the most frequently reported problems fell into three general categories: 1) seasonal lack of water, often due to disruption of the water infrastructure by rain or floods; 2) the cost (often, rising cost) of community water; and 3) complaints about the management of the water system, such as not properly draining the tank on a monthly basis for maintenance, diverting the water for other uses such as to wash coffee, and that the water committee does not work well.  In two of the communities, (Nueva Segovia, Nicaragua, and Chiquimula, Guatemala) many residents had stopped paying fees for water.  Respondents in these communities stated that the reason was the water committee no longer sent anyone to collect the fees.  Among participants who reported paying for water in the previous month, the median regional cost in USD was $1.86 (range $0.14 to $12).

Water treatment

Ninety-one percent (86/94) of respondents reported that they had not treated water collected on the day prior to the interview.  Of 84 who responded to the question asking how often they treated water, 76% (64/84) said ‘never’ and 9% (8/84) said ‘always.’  The most frequent reason given for not treating water in the home was that it was unnecessary because the water system chlorinates at the storage tank.   Table 5 is a summary by community of the distribution of those who never treat drinking water.

Table 5.  Distribution of those Who Never Treat Drinking Water

| Country | Community | Total | n | Percent |
| --- | --- | --- | --- | --- |
| Nicaragua | Nueva Segovia | 14 | 6 | 43 |
| Honduras | Marcovia | 16 | 12 | 75 |
|  | Las Lomas | 16 | 8 | 50 |
| El Salvador | Las Pozas | 16 | 14 | 88 |
|  | La Ceiba | 16 | 14 | 88 |
| Guatemala | Chiquimula | 16 | 10 | 63 |

Forty-two percent (40/94) of the interviewees said they had never received instruction on treating water stored in the home; 47% (44/94) could give the year of at least one presentation they had attended on water treatment; and 11% said they had received instruction, but could not remember when.  Eighteen women remembered receiving instruction at least once during the 2000 through 2002 period.

Sanitation facility access/Use and maintenance

Access to sanitation facility

Ninety-eight percent (92/94) of the households surveyed had access to a latrine, either on the property or at the home of a nearby neighbor or relative.  Eighty-eight (96%) of the respondents knew the circumstances under which the latrine they used had been constructed.  Seventy-six respondents said a latrine had been built on the property in the period after Hurricane Mitch and 62 of the 76 (82%) were still using the same latrine in 2006.  Table 6 is the evaluation of the sanitation facilities.

Table 6.  Sanitation Facility Evaluation

|  | Total | n | Percent |
| --- | --- | --- | --- |
| Have access to sanitation facility | 94 | 92 | 98 |
| Received latrine post-Mitch* | 88 | 76 | 86 |
| Same latrine still in use? | 76 | 62 | 82 |
| Using hygienic sanitation facility | 87 | 69 | 79 |

*   Six respondents did not know when the sanitation facility was constructed.

In household interviews, most problems with sanitation facilities were reported in communities with dry pits and pour flush latrines.  Many dry pit latrines constructed after Hurricane Mitch 1) had filled up, 2) were nearly filled, or 3) had problems in the rainy season.  Many respondents reported digging a new pit when pits filled up and reused the structure from the old pit location.  Pour flush latrines also were reported to fill up or have tank collapse problems in the rainy season.

Ninety-two latrines were inspected by interviewers.  Using the FANTA Guide criteria, a latrine was considered hygienic if it had three or fewer flies and no evidence of feces outside the latrine.  A latrine was considered ‘in use’ if there was evidence that it had been cleaned recently or that it had been swept or there was a path to it, it was in good repair and/or there was a lack of spider webs in the latrine.  Using these criteria, 73 of the 92 inspected latrines in use (79 %) were considered to be hygienic.

Sanitary facility use and maintenance

Thirty seven percent of the women said that they had not been instructed on the use and maintenance of the sanitary facility; 53% could give the year in which they had received instruction; and 10% said they had received instruction, but could not recall when. The range of years of most recent recalled instruction was 1992 to 2006.  Among women who could recall receiving instruction, a higher percentage of those whose most recent instruction was after 2002 had hygienic latrines in use (86% v. 68%), although these results are not statistically significant.

Hygiene education

Hand washing behavior was evaluated using criteria from the FANTA Guide.  Ninety-three women responded to this portion of the questionnaire.  One husband responded for his sick wife but his responses were not included in this part of the analysis.  Overall, 58% (54/93) of the women interviewed demonstrated appropriate hand washing technique.  Results for households without children less than 36 months showed that nearly 70% of women had proper hand washing technique compared to women in households with children less than 36 months where about 50% of women had appropriate hand washing technique.  The difference between these two groups was statistically significant (p=0.04) indicating that the woman who did not have children less than 36 months in the home demonstrated better hand washing technique.  Table 7 is a summary of scoring for appropriate hand washing behavior and past education.

Table 7.  Hand Washing Behaviors and Education

|  | Total | n | Percent |
| --- | --- | --- | --- |
| Appropriate hand washing behaviors* | 93 | 54 | 58 |
| In households without children <3 years old | 52 | 35 | 67 |
| In households with children < 3 years old | 41 | 19 | 46 |
| Received instruction | 63 | 41 | 65 |
| Did not receive instruction | 30 | 13 | 43 |

* Defined as a score of 8 or more out of 10 on USAID impact indicator if children <36 months in home and as a score of 7 or more out of 9 if no children <36 months in home.

Sixty-eight percent (63/93) of the women interviewed recalled ever having received instruction on hand washing.  Forty-one (65%) of the women who recalled being instructed and 13 (43%) of the women who did not recall ever having instruction on hand washing displayed proper hand washing techniques.  The difference was marginally statistically significant (p=0.05).

Of the 63 women who recalled being instructed, 58 could recall the year or years in which they had been taught proper hand washing techniques; 35 of the 58 (60%) said that the most recent instruction was after 2002. There was no statistically significant difference (p=0.98) between the scores of those who had been instructed before 2002 and those instructed more recently, indicating good retention of hand washing information.

  - Water Sampling Results

Water samples were collected from the drinking water stored in the home and from the community water source.  Tap water samples were collected in two study areas.  Table 8 is a summary of the number and types of all water samples collected.

Table 8.  Total Number of Water Samples

| Country | Community | Household Water | Community Water Source / Water Storage Tank | Tap Water |
| --- | --- | --- | --- | --- |
| Nicaragua | Dipilto Nuevo | 7 | 0 / 1 | -- |
|  | Dipilto Viejo | 7 | 1 / 2 | -- |
| Honduras | Marcovia | 16 | 1 / 1 | -- |
|  | Las Lomas | 15 | 1 / 1 | -- |
| El Salvador | Las Pozas | 16 | 1 / 1 | 3* |
|  | La Ceiba | 16 | 1 / 1 | -- |
| Guatemala | Plan Shalagua | 8 | 1 / 0 | -- |
|  | Guayabo | 8 | 1 / 1 | 2 |
| Total |  | 93 | 15 | 5 |

* One respondent indicated that drinking water was taken directly from the tap and not stored in the home.

Water sample analysis was a presence/absence test using the Hach test kit.  Bacterial contamination is noted by a color change, if total coliforms are present, then the reagent and water turned yellow.  The presence of E.coli is indicated by a color change (yellow) and fluorescence which was checked at 24 and 48 hours with a standard portable black light in a darkened room.  The absence of total coliforms and E. coli was demonstrated by a lack of color change, the water sample and reagent remained red/purple.

Household water sample results

During the interview, the study participant was asked to provide the interviewer a glass of water as if offered for drinking.  Water stored for drinking was typically kept in the home in a covered container.  Water was directly poured into a drinking glass or a cup was used to dip into the container.  The results in Table 9 show that the study areas with a chlorinated water system were likely to be free of bacterial contamination.

Table 9.  Qualitative Results for Household Water Samples

| Country | Community | Household Samples | Positive Coliforms | Positive E.coli | Negative Results | Chlorinated water system? |
| --- | --- | --- | --- | --- | --- | --- |
| Nicaragua | Dipilto Nuevo | 7 | 7/7 | 2/7 | 0/7 | No |
|  | Dipilto Viejo | 7 | 7/7 | 5/7 | 0/7 | No |
| Honduras | Marcovia | 16 | 6/16 | 3/16 | 9/16 | Yes |
|  | Las Lomas | 15 | 14/15 | 1/15 | 1/15 | Yes |
| El Salvador | Las Pozas | 16 | 8/16 | 1/16 | 9/16 | Yes |
|  | La Ceiba | 16 | 4/16 | 0/16 | 11/16 | Yes |
| Guatemala | Plan Shalagua | 8 | 8/8 | 8/8 | 0/8 | No |
|  | Guayabo | 8 | 7/8 | 8/8 | 0/8 | No |
| Total |  | 93 | 66% | 30% | 32% | 4 out of 6 |

Tap water samples were collected from the distribution system in two study areas, Las Pozas in El Salvador and Guayabo in Guatemala.  The water sample was collected by first wiping down the tap with an antibacterial agent, turning the water on and allowing it to run for half a minute, then directly filling the Hach bottle with 100 ml of water from the tap.  This technique is adequate for collecting a tap water sample from the distribution system.  The results in Table 10 show that the chlorinated water system did not test positive for E.coli versus the system that did not have chlorination which had a positive result for E.coli.

Table 10.  Qualitative Results for Tap Water Samples

| Country | Community | Tap Water | Positive Coliforms | Positive E.coli | Negative Results | Chlorinated water system? |
| --- | --- | --- | --- | --- | --- | --- |
| El Salvador | Las Pozas | 3 | 1/3 | 0/3 | 2/3 | Yes |
| Guatemala | Guayabo | 2 | 2/2 | 2/2 | 0/2 | No |
| Total |  | 5 | 60% | 40% | 40% |  |

Community water source sample results

Water sources for each study area were also tested.  After the infrastructure evaluation a water sample was drawn directly from the source, either from the water storage tank or source (spring), or both.  Table 11 is a summary of the results.  Many of the sources tested positive for coliforms, however, the chlorinated water systems did show the presence of E.coli in 3 out of 4 study areas.

Table 11.  Qualitative Results for Community Water Source

| Country | Community | Community Water Source* | Positive Coliforms | Positive E.coli | Negative Results | Chlorinated water system? |
| --- | --- | --- | --- | --- | --- | --- |
| Nicaragua | Dipilto Nuevo | 1 | 1/1 | 1/1 | 0/1 | No |
|  | Dipilto Viejo | 3 | 3/3 | 3/3 | 0/3 | No |
| Honduras | Marcovia | 2 | 0/2 | 0/2 | 2/2 | Yes |
|  | Las Lomas | 2 | 1/2 | 1/2 | 1/2 | Yes |
| El Salvador | Las Pozas | 2 | 1/2 | 1/2 | 1/2 | Yes |
|  | La Ceiba | 2 | 2/2 | 1/2 | 0/2 | Yes |
| Guatemala | Plan Shalagua | 1 | 1/1 | 1/1 | 0/1 | No |
|  | Guayabo | 2 | 2/2 | 2/2 | 0/2 | No |
| Total |  | 15 | 73% | 67% | 27% | 4 out of 6 |

* Water samples were from the source and/or storage tank

Four study area water systems used chlorine for disinfection.  None of the other systems were disinfecting water delivered to homes.  Table 12 is a summary of the chlorine residuals measured in the distribution system.

Table 12.  Free Chlorine Residuals in Water Systems Using Chlorine Treatment

| Country | Community | Type of Chlorination System | Free Chlorine Levels (ppm) | Location of Sample |
| --- | --- | --- | --- | --- |
| Honduras | Marcovia | Batch chlorination of tank once/day | 3.5 2.0 2.0 1.5 1.5 | Elevated storage tank 4 pm * Sector 1 home closest to tank ** Sector 1 home furthest from tank** Sector 2 home closest to tank** Sector 2 home furthest from tank** |
|  | Las Lomas | Continuous through drip chlorinator at tank | 0.2 0.3 0.4 | Storage tank at 4:45 pm School tap at 5 pm School tap at 8 am |
| El Salvador | Las Pozas1 | Continuous through tablet chlorinator at tank | 0.2 0.3 | Storage tank at 12 pm 4 different homes in various locations in community, 2 pm to 3 pm (all at 0.3 ppm) |
|  | La Ceiba | Continuous through tablet chlorinator at tank | 0.7 0.7 | Storage tank at 1 pm 2 different homes in various locations in community, 2 pm |

*Measured during filling of storage tank in afternoon.  Does not represent level of chlorine in water delivered to houses.  ** Measured while water being delivered to homes in morning

1 Las Pozas - free chlorine levels are measured in several places in the distribution network every 2 weeks by the water committee. Records of these measurements show consistent chlorine levels of 0.4 ppm during January and February, 2006.

3.3	Community Questionnaire Results

Results from the community surveys reflect information that was gathered from water committees or other community members (such as fontaneros [plumbers]) who had knowledge of the water and sanitation facilities.

Table 13 is a summary of the key information obtained for each of the study areas.  Overall, communities in which there was an active water committee with long-standing members generally had better functioning and maintained water systems.  Each study area received ARC water and

| Table 13. Community Questionnaire Results |
| --- |
| Country/Community | Water system / Water Source | No. of Households | Collecting Fees for Service? | Account | Water Committee | Sanitation | Education post-2002? |
| Nicaragua |  |  |  |  |  |  |  |
| --Nueva Segovia Dipilto Nuevo | Since 2002, local municipality system / Stream - filtration treatment, gravity flow to storage tank, household taps | 55 homes 42 connected | No 10 cordobas per month – 0.60 USD | No | Yes | Pit latrines ARC 42 homes | Dipilto Health Center, 3 times per year-safe water, sanitation, children’s health |
| Dipilto Viejo | Since 2003, local municipality system / Stream - No treatment, gravity flow to storage tank, household taps | 80 homes | No 10 cordobas per month – 0.60 USD | No | Yes, not active | In 2000, Pit latrines | 2005 Natural Disaster Health Unit-water, sanitation, and hygiene |
| Honduras |  |  |  |  |  |  |  |
| --Marcovia | Since 2001, ARC system / Deep drilled well, submersible pump to storage tank, daily chlorine treatment, gravity flow to homes, water 2 hours/day | 240 homes | Yes 35 lmps per month-$1.87 USD Some not all pay | Yes Savings 148,000 lmps ($7,900 USD) | Yes, very active | In 2001, pour flush latrines | 2003 Honduran and Swiss Red Cross, water quality, sanitation, hygiene |
| --Las Lomas | Since 2001, ARC system / Spring, gravity flow to storage tank, drip chlorinator treatment, gravity flow to household taps | 400 homes 348 connected | Yes 20 lmps per month-$1.07 USD 303 homes pay for service | Yes 25,000 lmps ($1,336 USD) | Yes | In 2001, 150 pour flush latrines | Oct 2005 Red Cross and Ministry of Public Health, water, sanitation and hygiene |

Table 13.  Community Questionnaire Results

| Country/Community | Water system / Water Source | No. of Households | Collecting Fees for Service? | Account | Water Committee | Sanitation | Education post-2002? |
| --- | --- | --- | --- | --- | --- | --- | --- |
| El Salvador |  |  |  |  |  |  |  |
| --Las Pozas | 2001 CARE system / Deep drilled well, pumped to storage tank, continuous chlorine tablet treatment, gravity flow to household taps with water meters | 690 homes | Yes $3.43 USD per month 248 homes water cut off | Yes $3,306 USD | Yes | In 2001, composting latrines | 2001-2002 water, sanitation and hygiene from Health committee |
| --La Ceiba | 2002 ARC system / Spring, gravity flow, pumped to storage tank, continuous chlorine tablet treatment, gravity flow to household taps | 100-110 homes 76 connected | Yes $3.00 USD for 6 m3 water / month | Yes? | Yes? | In 2001, Composting latrines | None after 2002 |
| Guatemala |  |  |  |  |  |  |  |
| --Chiquimula Plan Shalagua | 2001 ARC system / Spring, gravity fed to tank, gravity flow to public taps | 130 homes | No | No | No | Pit latrines | None after 2002 |
| Guayabo | 2001 ARC system / Spring, conduction line to storage tank, chlorine tablet treatment (no longer), gravity flow to household taps | 150 homes 126 served | Yes 15 quetzales every 3 months $2.00 USD | No | Yes | In 2001, pit latrines | 2001 was last training by the Red Cross |

sanitation interventions and hygiene education, however, there were specific issues to each study area that were identified in the community survey.  These are described in the following sections.

3.3.1	Nicaragua

Nueva Segovia consists of two communities, Dipilto Nuevo and Dipilto Viejo.

Dipilto Nuevo (Barrio San Augustin).  There were 13 more houses than when the water system was first constructed but only the original 42 homes are connected to the system.  Houses without a water connection share water from neighbors. The community has a functioning water committee of six people and a fontanero who oversees maintenance and cleaning of the filtration system below the water source.  The filtration system is not currently working.  The quality of water in the distribution system is unknown and has not been tested since initial construction.

New houses cannot be connected to the water system and repairs to system infrastructure cannot be made since there are no savings in the water system account.  The water system provides inconsistent service due to drought and damage to the system near the source caused by logging and livestock in the watershed. We were told that there were livestock near the source water as well as disturbances due to logging which might adversely affect water quality and quantity.  The fontanero said that the community was satisfied with the system, however the catchment structures need to be rehabilitated.  Such repairs are being delayed until logging activities end.

The original 42 houses have pit latrines provided by ARC.  There is no funding to construct latrines for new homes.  Houses without ARC latrines dig pits and cover them with plastic.  Health education has been provided post-ARC interventions, however, diarrheal illness rates (attributed to water quality) were reported to be high in the community according to a health worker interviewed.

Dipilto Viejo (Barrio Solidaridad).  The water source for this system is located approximately 7 km from the community.  The person who was available to be interviewed had been a member of the water committee for only two months. We were told the water committee had 4 members, but has been in a state of flux and not very active.

The water system has worked well except when road work between the community and source has broken the pipe delivering source water.  Received fees and help from the local municipality has covered replacement/fixing of the pipes.   The most recent analysis of water quality in the system was conducted in early 2005 but the person we interviewed did not recall the results.  The community would select the same water system given the option to choose.

The total number of pit latrines constructed is not known.  Those not receiving latrines built their own.  A problem with the latrines has been that when they fill, the homeowners need to dig new pits and there’s not enough land within each house plot to do so.  The community continues to face natural disasters in the form of landslides caused by deforestation in the area.

3.3.2	Honduras

Marcovia.  Since 2002, the water committee has upgraded the pump to a larger one capable of filling the tank in less time. The water committee bought this pump and paid a contractor to install it. A Spanish NGO and SANAA (the national water company) have also provided assistance with materials, repairs and chlorine for disinfecting the water.  Those who fail to pay after several months have water service cut off and ‘borrow’ water from neighbors.  During August and September of each year, payment of water fees declines because there’s little wage work for community members, and fees collected do not cover operational costs during those months. However, the water committee has built up a surplus and the savings account to pay monthly fees such as 4,000 lempiras ($214 USD) for electricity and 2,300 lempiras ($123 USD) to the fontanero.

The water quality of Marcovia was analyzed most recently in November 2005 by the Honduran Ministry of Health.  No analysis report was provided to the community but they were advised the water was uncontaminated. The water committee in Marcovia is very active and told CDC that this system is the best option for this community.

A significant problem with the latrines is that they overflow and do not function properly during the rainy season.  The problem is so bad that the community refers to it as a natural disaster due to the standing sewage throughout much of the community in the rainy season.  The water committee would have selected a sewer system because of the overflow problem with latrines.

Health education on water quality, sanitation and hygiene was provided in 2001 (CARE) and in 2003 (Honduran and Swiss Red Cross) in Choluteca.  The training was directed to the Marcovia Health committee.

Las Lomas.  Problems with the water system since 2001 include flow control problems with distribution network valves and the conduction line from the source to the tank being washed away 8 times.  The conduction line problem has been provisionally repaired with leftover construction materials and volunteer labor, but continues to be susceptible to washing out.  The Red Cross also provided 250 bags of cement to put in a new intake structure at the source and build walls to protect the conduction line during flooding.

Water service has been cut to 45 houses for non-payment or because the houses are vacant.  Houses without connections borrow water from neighbors, as do new houses that cannot pay the connection fee of 4,000 lempiras ($214 USD).  The water fee is not always enough to cover costs related to maintenance of the water system (e.g. chlorine, salary for the fontanero, supplies).

Water quality is tested every few months, most recently in December 2005 by the Ministry of Public Health.  Only one analysis in recent years showed coliform bacteria, all other tests showed no contamination.  The community is satisfied with the system and would select the same system given a choice.

As new houses have been built, some households have had latrines built, or dig home-made latrines.  During the rainy season, some of the pour/flush latrines overflow and flood the community.  Nevertheless the community would select the same type of sanitation technology because most latrines function well.

Health education was provided post-2002.  This community also received food aid following Hurricane Mitch.   Members of the water committee reported that incidence of diarrhea is rare since the installation of the water and sanitation system.

3.3.3	El Salvador

Las Pozas.  The water system was designed for 1040 houses and was not provided by the ARC.  Water quality was most recently analyzed by Fundemune (a CARE project) in 2002 and found no contamination or microorganisms in the water.   Problems with the system since 2001 include installation of a new pump shut-off valve (by a contractor paid by the water committee) and earthquake damage to the tank which resulted in leaks that have yet to be repaired.

Households with high water usage have an extra charge added to the monthly fee.  About half the houses were in arrears in payment during the CDC/ARC visit and 284 households had water service cut off.  Houses without water service ask neighbors to share water.  Many houses are disconnected because they are uninhabited.  The water committee has an account for maintenance and indicated satisfaction with this water system so that they would choose this type of system again.

According to the water committee, only about 40% of the composting latrines are still functioning and/or in use. Some latrines have been damaged by earthquakes and are too costly to fix. The level of access to some type of sanitation facility is probably higher than indicated by this estimate. Nine of 13 (69%) interviewees who indicated they received a composting latrine after Hurricane Mitch were still using them. Some residents had also constructed pit latrines or were sharing latrines with neighboring houses. In addition, a number of the homes in Las Pozas were uninhabited in 2006, so some latrines had fallen into disrepair or had materials salvaged for other building projects. In retrospect the community would have selected simple pit latrines because they are easier to use and require less maintenance according to the water committee.

Health education was last received in 2001-2002 from the health committee in Las Pozas.  Since Hurricane Mitch the community has received food aid (mainly to encourage people to work on construction of the water system) and has been impacted by earthquakes (damage to water system and latrines) and deforestation-related flooding.

La Ceiba.  The population in this community is between 600-800 people with 100-110 homes with only a portion connected to the water system.  Since 2002, the notable problems with the water system have been air locks forming while cleaning the spring box and river crossings washing out during flooding.  Flooding from Hurricane Stan washed out some of the gabions protecting the conduction line at river crossings. The community water committee performs all repairs and maintenance on the system; there is no fontanero.  There is a standard monthly water fee with an extra $.50 per m3 charged for usage over 6 m3.  Failure to pay after 3 months results in disconnection of water service.  Those without water connections (either because they are new homes or the household did not participate in the construction of the original water project) use a neighbor’s water, or collect water from the river or pumping station overflow.  Revenues from water fees cover necessary maintenance of the water system.

Water quality in La Ceiba has not been analyzed for water contaminants.  However, the chlorine vendor will test chlorine levels at no cost when the community purchases lots of 50 or more chlorine tablets.  The community has been satisfied with water system construction and design – particularly the distribution valve system that allows for shutting down individual parts of the system when a leak is discovered.

Houses without latrines, those that are new and those belonging to people who did not participate in the water system construction, have excavated open pit latrines.  The open pit latrines are problematic because they flood and overflow during the rainy season.

Health education for the community on water, sanitation and hygiene was provided shortly after completion of the water system by a health committee (now disbanded) formed by ARC.  The training emphasized proper use and maintenance of the composting latrines.  In addition a Ministry of Health promoter occasionally comes to the community to do in home health education.

3.3.4	Guatemala

Chiquimula consists of two communities, Plan Shalagua and Guayabo.

Plan Shalagua.  There are approximately 650 inhabitants (estimated at 5 persons per household) in this community.  In September 2005, rain from Hurricane Stan resulted in a landslide causing the quantity of spring flow at the source to diminish significantly. Consequently the system is barely functioning – only one or two tap stands at the lowest point in the system provide a small volume of water.  All households must now obtain water from these taps (which means traveling a distance of a kilometer or more for some households) and bathing/washing is done in a nearby river.  The community has been unable to fix the system.  Because of these issues, there are no community charges for the water, there is no active water committee and no savings in a water account.

The water quality of the system was analyzed during construction in 2001, possibly by ARC, but no one interviewed knew the results of the analysis.  The community would not have selected this source/type of water system.  When the landslide reduced source volume, the community located a different source spring above the current source.  The municipality is willing to sell Plan Shalagua the new source but the community has not been able to find assistance from an outside entity/organization to explore the feasibility of, and funding for, use of the new source.

Not all houses received pit latrines.  Those that don’t have latrines dig their own or use the outdoors. The community was provided training in water, sanitation and hygiene by ARC at the time the water system was constructed.

Guayabo.  Not all homes are serviced by this water system.  Initially, water was treated at the storage tank with a solid chlorine tablet system, but the tablets are no longer available and chlorine is not currently being used.  The high mineral content of the water at the source has caused deterioration of the galvanized metal pipe used for part of the conduction line. In addition, because this portion of galvanized pipe runs above ground through a forested area, falling trees sometimes damage the pipeline as well the exposed pipe getting hotter and having a greater potential for corrosion.  For both of these reasons, repairs to the conduction line have become a frequent occurrence.  Maintenance is done by a fontanero and community members.  The fees paid every 3 months for water are not enough to cover the costs for the frequent need for repairs and there is no water savings account.   Consequently, when repairs are needed, the water committee goes to the community for extra funds.

There are some houses in the community that are not connected to the water system because they did not want to participate in the construction of the system in 2001.  Several previous water projects were started and never completed and some in the community did not think the ARC project would be completed.  Households without water connections haul water from old water wells.  People interviewed in connection with the Guayabo water system did not know about any previous water quality analysis done in the community.

Some households did not receive pit latrines (the same group that did not want to participate in the water system construction) so they’ve dug their own latrines or use the outdoors.  During the rainy season, pit latrines fill and overflow.  The person interviewed by CDC was not on the original water committee and was not part of the process deciding on different options for the water system design and sanitation.

Health education on water, sanitation and hygiene from the Red Cross was last reported to be provided in 2001 and was given to women in the community at the school.

3.4	Infrastructure Evaluation Results

The results of the infrastructure surveys reflect mainly the observations of the CDC/ARC team from reviewing water and sanitation facilities, as opposed to the community surveys, which reflected self-reported data from the communities.

The infrastructure survey analyzed physical water and sanitation infrastructure and the administrative structures set up to manage that infrastructure. The longer term sustainability of the Red Cross Post-Mitch water and sanitation projects was generally directly related to their level of functioning at the time of the final health impact survey in 2002. The systems that were generally well operated and managed in 2002 continued to be well operated and functioning at the same level in 2006. One exception to this pattern was in Plan Shalagua, Guatemala, where a natural disaster caused major problems with the water system (discussed below).

    - Nicaragua

Nueva Segovia consists of two communities, Dipilto Nuevo and Dipilto Viejo.

Dipilto Nuevo and Viejo.  In Dipilto, the water systems were constructed by the local municipality (not by Red Cross), and were not originally designed and constructed adequately to meet local norms and standards. For example, the system in Dipilto Nuevo initially had problems with air blocks in the conduction line from the source to the storage tank because no air valves were installed at high points in the line. In addition, the “filters” that were installed below the sources in Dipilto Nuevo were not functioning at the time of this assessment, and, from their size and appearance, likely were never able to actually function effectively as filters to improve water quality. The tap stands at each home were also constructed of PVC pipe, which is subject to easy breakage; tap stands are typically constructed of galvanized iron pipe to avoid this problem. Design problems are also evident in source selection. The sources for both water systems were not providing adequate quantities of water during this assessment. In addition, the sources are unprotected surface water and highly subject to contamination. Because of these issues, the water systems in Dipilto did not deliver an adequate level of service to users from the beginning. This situation has continued, with a low level of service causing many users to refuse to pay their water fees. This in turn, creates a situation where the water committee has no resources to repair or upgrade the system, continuing a downward spiral toward even lower levels of service.

3.4.2	Honduras

Marcovia.  In Marcovia, the water system consists of a deep drilled well that pumps to an elevated storage tank, from which water flows by gravity to users. In 2002, this system was providing the level of service that it was designed for, delivering disinfected water to users for approximately two hours per day. In 2006, the system continues to operate according to the original design and deliver high quality water to users, although there are sometimes minor problems in the distribution system with water reaching all homes during the dry season. There is a very active water committee in this community which ensures that the system is maintained and water fees are collected. One of the factors that appears to contribute to this success is the presence of several committed individuals on the committee who have acted as “champions,” an element that has been identified in prior work as important for rural water systems (Katko, 1993). Nonetheless, there has been turnover in the membership of the water committee, so it has become somewhat institutionalized and is not necessarily dependent on just one or two specific people. Because of their diligence, the water committee that operates this system has built up a reserve fund of 148,000 Honduran Lempiras ($7,900 USD) for future repairs, and has also replaced the original well pump with a higher capacity pump.

In contrast to the water system, the sanitation systems in Marcovia, which consist of pour-flush latrines, were generally not functioning adequately. The soils in this area are not highly permeable and so are not ideally suited to these types of latrines. According to documents in the community, ARC did investigate the soils (including performing some soil tests) and originally determined that these types of latrines would work in this location. However, many latrines fill up during the rainy season and are unusable. The water committee said that the community would prefer to have a sewer system installed. The original ARC project also did investigate this alternative, but concluded that operational costs would be too high for the community to support. Because the soils are not highly permeable, there are also problems with grey water pooling on the surface in Marcovia, creating potential vector breeding habitat.

Las Lomas.  The gravity flow system in this community was functioning at the time of this assessment, with water being chlorinated at the storage tank before being delivered to users. However, the conduction line from the source to the tank had been washed out 8 times since 2002. The pipeline has been repaired each time by the community using materials left over from the original construction project, but the repairs have been provisional and the pipeline is still subject to being washed out. In addition, the catchment structure at the spring source has been rebuilt to capture more water, but, as a consequence, is much more subject to surface contamination.

This community also has a very active water committee, and its members say they treat managing the water system as a small business. For example, every Friday, the two paid fontaneros review the system for leaks and cut water service to any houses that are two months behind in paying water fees. This water committee, like the one in Marcovia, has also benefited from several “champions” who are highly committed to ensuring that the system continues to function and provide service.

The sanitation facilities in Las Lomas consist of pour-flush latrines, and this community has also experienced problems with them filling up during the rainy season, although to a lesser extent than in Marcovia.

3.4.3	El Salvador

Las Pozas.  The drinking water system in Las Pozas is functioning as designed, and observations during this assessment and water committee records both indicate that the system appears to be providing adequate disinfection. The largest challenge facing this system at present is financial viability. There were 987 homes connected to the water system in 2002 during the final evaluation of the original CDC assessment, with 925 of them being occupied and receiving water. However, in 2006, there were only 690 homes occupied, as many of the residents had left because of a lack of economic opportunities in the area. According to the water committee, many of the residents who had been relocated to Las Pozas after Hurricane Mitch had returned to the areas they had come from near the coast, where there is work in the fishing and shrimping industries. To simply cover normal operating expenses, the system needs to have approximately 580 subscribers. Since 2002, the community has lost at least 25% of its original residents, and if more than an additional 10% of those residents leave, the water system will not be able to pay its operating costs (see Appendix E for calculations). This financial strain is already evident – the water committee does not have sufficient funds to pay for all necessary repairs to the system. Although they were able to pay a private contractor to install a new shut-off switch for the pump because the original switch was not working properly, they do not have enough funds to pay for fixing minor leaks to the storage tank that were caused by the earthquake in El Salvador in 2001. Because of the nature of this system, it has significant monthly operating costs (e.g., electricity to pay for pumping costs). Since the water committee has less than two months of operating costs in bank accounts, if subscriber fees are not enough to pay those monthly operating costs, the water committee will be unable to keep the system running for very long.

Problems with the composting latrines that were installed in Las Pozas were also evident during this assessment. Although the majority of the people interviewed in the community that received these types of latrines after Mitch were still using them (9/13, 69%), many of the latrines were not being operated properly. For example, drying materials such as ash were not being added and seats not being covered in many of the latrines, essential steps for these facilities to function properly and not create odor and fly problems. Some of these same problems were also present during the 2002 infrastructure assessment, and the improper operation of many of these latrines has continued.

La Ceiba.  The drinking water system in La Ceiba was functioning as designed at the time of this assessment, with water being disinfected by a tablet chlorinator at the storage tank. However, there were also some issues that may lead to larger problems if they are not addressed. The conduction line from the catchment structure to the pumping station has 3 river crossings in which the pipeline crosses the riverbed encased in gabions (chain link boxes filled with rocks). When there are high flows in the river, as during the rainy season and Hurricane Stan, the gabions have been washed out, threatening to also wash out the conduction line. The fence around the catchment structure was also broken, allowing access to the source and making it more easily subject to contamination.

Composting latrines were also installed in La Ceiba, and most were being operated properly, although some operational problems such as not adding ashes were evident.

3.4.4	Guatemala

Chiquimula consists of two communities, Plan Shalagua and Guayabo.

Plan Shalagua.  As mentioned above, the longer term sustainability of the ARC Post-Mitch water and sanitation projects was generally directly related to their level of functioning at the time of the final health impact survey in 2002. One exception to this pattern occurred in Plan Shalagua, due to an intervening natural disaster after Hurricane Mitch. In this community, heavy rains associated with Hurricane Stan in 2005 caused a large landslide above and adjacent to the spring source for the water system, virtually drying up the spring. Because of this diminished flow at the source, only a trickle of water arrives at one or two of the original 23 public tap stands. Before the landslide occurred, the water system was still operating at an adequate level according to the community. Nonetheless, there were some issues with the system even before the landslide; the storage tank was small even for a public tap system, and was not adequately protected from contamination as it is located inside a cattle corral.

Ventilated dry pit latrines were constructed in Plan Shalagua and appeared to still be functioning well in 2006.

Guayabo.  The drinking water system in Guayabo is still functioning but has had many problems with leaks and repairs in the 19 km. conduction from the spring source to the storage tank, due to two factors. First, the water from the spring has a high mineral content, which is contributing to corrosion and causing leaks in the galvanized iron pipeline. In addition, long stretches of this galvanized iron pipeline run above ground through a forested area, and falling trees sometimes break the pipeline.

Repairing these problems is causing some financial strain and monthly water fees are not always sufficient to pay for repairs. Because the water committee has no reserve funds, when additional money is needed for repairs, the committee has to ask residents to make additional contributions beyond their normal monthly water fees. In addition, there are some cracks in the concrete apron covering the seep spring at the catchment, which allow surface water to enter into the collection box that captures water from the spring. Although this system was originally designed to use a solid chlorine tablet disinfection system at the storage tank, this system has not been in use for some time because the chlorine tablets are not available.

Ventilated dry pit latrines were also installed in Guayabo, although community members reported that many of them fill up with water during the rainy season and become unusable.

4	Strengths and Limitations

There are strengths and limitations with every methodology used to perform an evaluation and should be recognized.  The strength to this study is that most communities were not advised in advance of the CDC visit to their community.  For example, the ability to demonstrate proper hand washing knowledge and practice in the community could be assessed without any advanced coaching by the local health people.  The knowledge of appropriate hand washing behavior was evaluated in this long-term evaluation using the USAID guide which was exactly the same as in the initial survey.  The person interviewed may have had some reservations in answering the questions posed to them by the interviewer who arrived in their community unannounced.

Other considerations with regard to the results in the long-term evaluation are that:

- many of the communities have had significant changes in population in the interval between 2002 and 2006

- no attempt was made in 2006 to identify persons who had received health education during the intervention time period

- many of the respondents could not recall when they had received instruction on hygiene, and

- failure to maintain sanitation of a  latrine may be due to deteriorated physical condition of the latrine.

5	Discussion

5.1	Results

The regional results for the USAID indicators that were measured in 2006 are shown in Table 14, along with a comparison to the same results for six study areas from 2002. Although the sample sizes were different (569 in 2002 vs. 94 in 2006), these results represent regional outcomes of variables that were measured using sample sizes designed to show statistically significant differences and can be compared. As shown in the table, access to water and sanitation facilities did not differ statistically between 2002 and 2006 on a regional basis.

Table 14.  USAID Guide Indicators Comparison

| Intervention (input) | USAID Indicator | Description of Indicator | Baseline* % | 2002* % | 2006 % | p (2006 vs. 2002) |
| --- | --- | --- | --- | --- | --- | --- |
| Water Infrastructure | Monitoring Indicator # 1 | Households with year-round access to improved water source | 36.1 | 76.6 | 71.3 | 0.26 |
| Sanitation Infrastructure | Monitoring Indicator # 2 | Households with access to sanitation facility | 51.2 | 97.2 | 94.7 | 0.20 |
| Hygiene Education | Impact Indicator # 3 | Appropriate hand washing behavior | 20.2 | 54.1 [66.9]# | 44.1 [58.1]# | 0.07 [0.10] |
|  | Impact Indicator # 4 | Population using hygienic sanitation facilities | 23.3 | 86.6 | 73.4 | <0.001 |

Bold indicates statistically significant difference

*Includes only the 6 study areas evaluated in 2006 to enable more direct comparison.

# Recalculated as >=7 in houses without young children and >=8 if children under age 36 months are in the home (women in homes without young children were not expected to answer that they washed their hands after diapering).

In contrast, differences in appropriate hand washing behavior between 2002 and 2006 approached a statistically significant level, and the percentage of the population using hygienic sanitation facilities was statistically different in 2006 than in 2002. In both of these cases, the outcomes in 2006 were lower than in 2002.

In addition, the scores of study participants with regard to appropriate hand washing behavior were evaluated in two groups, those households with young children and those without.  Women without children under age 36 months in the home scored at least 7/10 more often than women with young children who scored at least 8/10.  The failure to mention the need to wash one's hands after diapering a child may indicate that special attention should be paid to targeting mothers of young children for hand washing instruction.  Overall, no differences in hand washing scores were noted based upon how recently the participants had received instruction.

These results show that on an overall, regional basis, the physical infrastructure interventions may have been more sustainable than the hygiene behavior based interventions, such as hand washing and maintenance of hygienic latrines. In these post-Hurricane Mitch projects, ARC concentrated on providing integrated water/sanitation interventions that incorporated both physical infrastructure and hygiene behavior elements.

Nonetheless, these results suggest that even more emphasis is needed on the “software” components -- such as hygiene and health education -- to ensure long term sustainability of water and sanitation projects. In addition, although the regional results showed that the “hardware” interventions of physical infrastructure were sustainable over the period 2002-2006, these overall outcomes mask some substantial differences between communities, and some communities were experiencing major problems with physical infrastructure during this follow-up evaluation. More information about specific results from the various elements of the sustainability evaluation (household surveys, community and infrastructure surveys, water quality sampling, etc.) is given below.

5.1.1	Household Questionnaires

The household questionnaire used for the present survey is similar to the one used in the previous three investigations.  A copy with frequencies of responses has been included in Appendix F.   In many ways, the families surveyed were similar to those seen in 2002.  In 2006, a higher percentage of the families had a private spigot in the yard (90% v. 80%) and the majority relied on a ‘pila’ or barrels for the storage of several hundred liters of water for domestic purposes.  In general, residents were not aware of how much water they had collected on any one day.  Using 50 liters per capita per day as the criterion for an adequate supply of water, only 35% of the families would have an adequate supply of water.  However, when asked, 97% of the respondents said they had enough water for the family’s domestic needs.  These results support the conclusion from the 2002 final report that the USAID Impact Indicator # 2 on per capita water use does not provide a useful metric.  An attempt was made in 2002 to use the data from water meters to evaluate the amount of water consumed per household.  Water meters that were available in select communities did not provide adequate or accurate data for evaluating the per capita water used.

Compared to respondents in 2002, a higher percentage of those in 2006 said the water system did not supply water throughout the year (24.5% v 6.5%).  Comments provided by the interviewees indicated that there were water shortages during the rainy season, when pipes from community water sources would break and the community would be without water for several days to weeks. Maintaining continuous water service is a key element for sustainability.  Users often become unwilling to pay for erratic service which results in no funds available for repairs to improve the level of service. Continuity of water service may be an important indicator that ARC should consider including in future evaluations of water and sanitation programs.

While 30% of those responding in 2002 reported treating drinking water collected that day, only 8.5% did so in 2006.  In 2002, 565 of 569 respondents answered the question about the frequency of water treatment in 2002; none replied ‘never.’  In 2006, 64 of the 84 who answered the question said ‘never.’  Reliance on the community water system to adequately treat drinking water has increased over the years. This result may be partially a reflection of the communities included in this follow up evaluation, where 4 of the 6 communities were effectively chlorinating their water supplies. In contrast, in the 2002 final evaluation, only 3 of 8 systems (Marcovia, Honduras, Las Pozas and La Ceiba, El Salvador) were chlorinating. In addition, in 2002, Las Lomas, Honduras reported that they usually chlorinated their water, but didn’t during our visit because the water level in the tank was so low due to drought. However, this result also indicates that ongoing health education efforts are needed, as household level treatment is still necessary in some systems.

In U.S. dollars, the median cost of water in the region has risen from $0.90 monthly to $1.86 between 2002 and 2006 among residents who reported paying for water.  Mean values ranged from $0.29 in Nueva Segovia, Nicaragua, where half the respondents reported not paying for water, to $4.18 in La Ceiba, El Salvador. This result may indicate that initial water fees were set too low to pay for the actual cost of service, and have risen to reflect those actual costs, a result that ARC should keep in mind when projecting water fees and levels of service that communities will be able to support for future interventions. Communities may have unrealistic expectations about the level of service they are able to support, given what residents are willing and able to pay. For example, in Marcovia, Honduras, water committee members reported during the 2006 evaluation that they would like to install a sewer system because of problems with pour-flush latrines. However, the initial analysis by ARC in 2000 indicated that the community would not be able to financially support that level of infrastructure.

Table 15 is the comparison of the indicators compared to the goals from the final survey.  Looking at the results for each intervention, water infrastructure, monitoring indicator #1, had an arbitrary goal of 100% which was set by the ARC in the past surveys.  Although a goal of 100% is not truly feasible for this indicator, 76% of the households surveyed had year-round access to an improved water source.

Table 15.  Indicators Used to Measure Interventions

| Intervention | USAID Indicator | Description Of Indicator | Percent Positive | Goal |
| --- | --- | --- | --- | --- |
| Water Infrastructure | Monitoring Indicator # 1 | Percent of households with year-round access to improved water source | 76% | 100%* |
| Sanitation Infrastructure | Monitoring Indicator # 2 | Percent of households with access to sanitation facility | 98% | 100%* |
| Hygiene Education | Impact Indicator # 3 | Percent of households with appropriate hand washing behavior | 44% | 50% inc. |
|  | Impact Indicator # 4 | Percent of population using hygienic sanitation facilities | 73% | 75% usage |

*Goal set by the ARC

With regard to sanitation infrastructure, monitoring indicator #2, also had an arbitrary goal of 100% set by the ARC.  Nearly 100% of the households (98%) had access to a sanitation facility.  Most of the study participants who knew the source of funding for their latrine (76/88, 86%) confirmed that they lived in a home that had received a latrine from the post-Hurricane Mitch latrine project and the majority of those latrines (62/76) were still usable.

In terms of hygiene education, there are two impact indicators that measure the success of the health education program, impact indicators #3 and #4.  Health education by ARC ended in 2002.  Other local health agencies, such as the ministry of health and local Red Cross Chapters, continued going to some communities to discuss proper hand washing techniques.  The original goal for this indicator was for a 50% increase over baseline which was attained by all communities in 2002, except in El Salvador.  In the sustainability evaluation in 2006, the overall percentage of households with appropriate hand washing behavior on a regional basis did still represent a 50% increase over the 2000 baseline. However, in 2006, appropriate hand washing behavior also decreased from the final results in 2002, as discussed above in terms of regional results.

A smaller percentage of women in 2006 could name the occasions before or after which they regularly washed their hands.  Only 68% of the women in 2006 could remember ever having been taught about hand washing, compared to 78% in 2002.  The lower percentage may be attributable to the limited health education that did continue in these communities but not at the same level as during the construction phase of the water and sanitation interventions.  Also, there were some new residents in these communities who had not received any health education.

For impact indicator #4 under hygiene education, the percentage of the population having access to hygienic sanitation facilities dropped from the 2002 level, and was slightly below the original goal of 75% usage.

    - Qualitative Water Samples

Most water samples from households, the community sources and the tap were positive for coliform bacteria.  Water systems that used chlorine treatment at the water source had the greatest number of water samples with negative results at the household, community and tap level, however, there were positive E. coli results in about 35% of these samples.  Communities with no treatment had a greater number of household samples positive for E. coli.  Many of the household water samples in communities where chlorination of the community water supply was occurring still had positive results, most likely due to recontamination during home storage and handling. Chlorine residual was not measured in household water samples and may have been useful to see if there was any residual left in those water systems that used chlorine.  Quantitative testing for coliforms may also be useful in identifying the effectiveness of household versus water system treatment.

These results indicate that although chlorination was providing better quality water to the homes, improper storage, handling and treatment of water in the home presents recontamination.  These results also highlight the necessity for ongoing health education on household water treatment in at least some, if not all, communities.

5.1.3	Community Questionnaires and Infrastructure Evaluation

One implication of the findings of the community and infrastructure surveys is that an up-front investment in appropriate design and construction that conforms to local norms and standards, and organizational effort in putting into place local administrative structures (like water committees) to operate water and sanitation infrastructure can have longer term positive impacts on project sustainability. Nonetheless, most of these small rural communities in Central America, even the ones that had dealt successfully with major problems or repairs, had been in need of some outside technical assistance at some point. The better-operated systems were able to pay private contractors for some of that assistance because they had diligently collected monthly water fees from users. However, systems that started off with inadequate designs and/or weak local water committees were unable to sustain a level of service that users were willing to pay for, and so did not have funds available to pay for outside assistance.

All of the communities visited had received very little follow up related to infrastructure from Red Cross or any other outside organizations since 2002, yet all of them needed additional hygiene education or technical assistance with either water or sanitation facilities installed by Red Cross.  Previous work and experience in Central America (e.g., Gelting, 1995) indicate that even well-organized rural communities eventually need external institutional support to ensure sustainability of water and sanitation infrastructure. At times, such follow up work may involve dealing with major problems (such as the landslide drying up the source in Plan Shalagua, Guatemala), but it also may be as simple as just checking in with a community and providing a referral to a source of information. Some of the water committees indicated that simply knowing that such external support was available helped to keep up their motivation to operate the water system. To the extent that Red Cross can design programs to provide longer term follow up, the sustainability of these particular projects, as well as future ones, would be enhanced, and large investments in infrastructure would be better protected.

Another result that was evident from this sustainability evaluation was that populations in the rural communities that were served by these ARC projects can change relatively rapidly and these changes can strongly affect infrastructure. For example, in Las Pozas, El Salvador, the population has decreased significantly due to a lack of economic opportunities in the area. Because this system has significant operating costs, further decreases in population could threaten the financial viability of the water system if the water committee is unable to collect sufficient revenues from water fees to cover those operating costs. If this occurs and the water system either ceases to function or provides only limited service, then a large investment in infrastructure will provide limited (or possibly no) benefits. Although ARC did not have input into the location of relocation communities after Hurricane Mitch, this is a factor that should be considered in future responses, if possible.

In contrast to Las Pozas, in Las Lomas, Honduras, the community has grown rapidly. In 2002, there were 220 homes, with 190 of them connected to the water system, whereas in 2006 there were over 400 houses, with 348 connected to water. Although the water system was originally designed to serve the entire future population of Las Lomas (500 houses), the original spring source did not turn out to have capacity to serve even the present number, and the catchment structure has been rebuilt to capture more water. The new catchment is not a sealed spring box, but rather a surface impoundment that is subject to contamination. Because the system has continuous chlorination at the storage tank, there is an additional barrier to any such contamination reaching users. Nonetheless, the system is now much more prone to surface contamination at the source.

An additional factor that was evident from the infrastructure survey was that severe storm events, whether from unusual events like hurricanes or more typical ones such as annual rainy seasons, significantly impacted drinking water systems in many cases. This finding indicates that project designs need to better account for such events, especially related to source selection and potential washouts from high flows in rivers and streams.

Of the water systems included in this assessment, the chlorinated systems were delivering better quality water to users. However, chlorine was not available in all areas. In El Salvador, solid chlorine tablet systems were being used successfully, and tablets were readily available from vendors. The two systems in Honduras (Marcovia and Las Lomas) were both using powdered chlorine, and had been able to secure supplies, but chlorine was not as available as in El Salvador. In Guatemala and Nicaragua, chlorine was not readily available to the communities, so disinfection of water supplies was not a sustainable option without external technical assistance. Although disinfection of water supplies is an excellent public health intervention, it should not obviate the selection of good quality, well protected sources, especially in areas where chlorine supplies are not readily available.

In terms of sanitation, there were some operational problems with composting latrines in both communities in El Salvador. These facilities are a good technical option in some areas but require intense hygiene education, including long term follow up. During the 2002 assessment, composting latrines were very well operated in Huitzitzil (Tiquisate, Escuintla), Guatemala. Unfortunately we were not able to visit this community in 2006 due to time and travel constraints, but it would be worthwhile to see if these latrines are still being used properly in Huitzitzil and derive any lessons from the experience there that could be applied elsewhere. In addition, pour/flush latrines were installed in some locations where they may not have been the best option due to soil conditions.

In a broad sense, many of the above issues are elements of good project and program design, and proper design promotes sustainability. Ensuring that designs are done effectively and take into account information like local demographic trends and water source capacity takes an investment of time and qualified personnel, elements that are not always included in emergency response programs.

  - Other USAID Indicators

The USAID FANTA indicators, listed in Appendix A, include some other indicators that we did not concentrate on in this sustainability evaluation because they were of limited utility in the original evaluations. Two impact indicators and two monitoring indicators were not included in this evaluation.  The percentage of children less than 36 months with diarrhea in the last 2 weeks, impact indicator #1, was excluded since the association with health improvements and the interventions was already demonstrated in the initial survey.  Impact indicator #2, quantity of water used per capita per day, in the 2000-2002 evaluations were very inconsistent and did not yield useful information.

Monitoring indicators #3 and #4 deal with the percentage of recurrent costs covered by the community and the percentage of facilities adequately maintained by the community. Monitoring indicator #3 in the percentage of recurrent costs for water supply services provided by the community served.  In the final evaluation in 2002, only six of the eight water systems had been operating for sufficient time to assess this indicator. Of those six, three (Marcovia, Honduras, and Las Pozas and La Ceiba, El Salvador) were covering 100% of their operating costs. In the sustainability evaluation in 2006, these same three systems were the only ones still covering their monthly operating costs, although they did not all have enough funds to cover needed repairs. For example, in Las Pozas, the storage tank was leaking, but the water committee did not have sufficient funds to pay for repairs. In addition, as previously discussed, Las Pozas has been rapidly losing population due to a lack of economic opportunities. If this trend continues, the water committee in Las Pozas may face a situation where they are not able to cover their operating costs. In some of the other communities (Guayabo in Chiquimula, Guatemala, for example), monthly water fees do not always cover costs, and in such cases, the water committee asks for additional contributions from community members.

Monitoring indicator #4 is the percentage of constructed water supply systems operated and maintained by the communities served.  If adequate maintenance is defined to include the delivery of good quality water to users, then, only the systems that were disinfecting water would be included.  Of the 4 communities included in this sustainability evaluation, four of them (Marcovia and Las Lomas, Honduras, and Las Pozas and La Ceiba, El Salvador) were adequately disinfecting water delivered to users. Chlorine supplies were not readily available to the other communities. In addition, as previously discussed, even those systems that were adequately maintaining their systems were in need of outside technical assistance at some point, although they did not always receive such assistance.

6	Conclusions and Recommendations

In general, the ARC post-Mitch water and sanitation projects were sustainable after 4 years, on a regional basis. However, this general result masks some important differences between results for different program elements as well as important differences between individual communities. Physical infrastructure interventions were generally more sustainable than hygiene behavior interventions, although some communities were also experiencing large scale problems with their physical infrastructure.

Overall, communities in which there was an active water committee with long-standing members had better functioning and maintained water systems, and the systems that were generally well operated and managed in 2002 continued to be well operated and functioning at the same level in 2006 (with the exception of Plan Shalagua, Guatemala, as discussed above).  All of the communities would benefit greatly from follow-up from authorities or organizations with water and sanitation skills for problem solving.  In addition, all communities, in particular the more isolated ones, would benefit from knowing where and how to seek support (financial, materials, technical assistance) for maintaining systems.

Based on the results of the Final Survey in 2002 and the long-term evaluation of ARC’s water and sanitation interventions, CDC’s recommendations may be generalizable to all of the water and sanitation interventions that ARC undertakes worldwide.  The following recommendations from the 2002 report are still applicable to the long-term evaluation:

- Emphasize even further the provision of strong community-wide hygiene education programs in beneficiary communities before, during, and after physical water and sanitation interventions are implemented.

- Provide institutional continuity for ARC’s country-level water and sanitation programs in order to provide continuous, effective support to the communities where infrastructure projects are undertaken.

- When working with partner organizations, ensure that roles within such partnerships are well defined and that mechanisms exist to ensure that all aspects of the projects are completed and well integrated.

- Work with Ministries of Health and Environment and host-country Red Cross Societies to develop effective mechanisms to provide continued support in the areas of hygiene education and promotion, and infrastructure and water quality monitoring after the completion of the active phase of ARC involvement in water and sanitation intervention projects

Based on the results from the long-term evaluation, CDC identified the following additional recommendations to consider when implementing future water and sanitation projects in disaster response and development situations:

- Ensure that adequate attention is given to forming, training, and providing ongoing support to local administrative structures (like water committees) to operate water and sanitation infrastructure. In some cases, such as with composting latrine projects, a local administrative structure may also be required to ensure the proper ongoing use of sanitation facilities.

- Ensure that adequate attention is given to ensuring that water fees are set at a level that will allow sustainable operation of infrastructure.

- Develop more focused and effective indicators for water/sanitation/hygiene education programs. For example, this sustainability evaluation suggested that continuity of water service may be an important indicator that was not included, whereas per capita water use did not turn out to be a useful indicator. The World Health Organization’s (WHO) qualitative service factors (quality, quantity, continuity, coverage, and cost) may be helpful in developing better indicators (WHO, 1997).

- Ensure that site selection and project designs effectively take into account information like local demographic trends, employment opportunities, the possible consequences of severe storm events, and water source capacity to ensure that both communities themselves and interventions are sustainable. Incorporating these elements will require even more investment of time and qualified personnel, elements that are not always included in emergency response programs.

References

Billig P., Bendahmane D, Swindale, A.  1999.  Title 2 Indicator Guidelines:  Water and Sanitation Measurement Guide. U.S. Agency for International Development (USAID) Food and Nutrition Technical Assistance (FANTA) Project , Washington DC.  June.

EpiInfo 2002.  2003.  Revision 2, January 30.  Centers for Disease Control and Prevention Division of Public Health Surveillance and Informatics.

Katko T.  1993.  The need for 'champions' in rural water supply. Waterlines. Intermediate Technology Publications.: 12(3):19-22

Moll DM, Hart R, Sabogal RI, Gelting RG.  2002.  Evaluation of the Health Impact of the American Red Cross-Sponsored Water and Sanitation Infrastructure Reconstruction Programs in Communities Affected by Hurricane Mitch: Honduras, Nicaragua, El Salvador, and Guatemala.  Final Report.  November 26.

SAS.  2002 – 2003.  Version 9.1 for Windows.  SAS Institute Inc.  Cary, NC 27513.

World Health Organization (WHO).  1997.  Guidelines for drinking-water quality. Vol. 3, Surveillance and control of community supplies.  2nd edition.  Geneva.

Appendix A.

Performance Indicators

| Impact Indicators | Monitoring Indicators |
| --- | --- |
| Percentage of children under <36 months with diarrhea in the last 2 weeks Quantity of water used per capita per day Percentage in household with appropriate hand washing behavior ---Child caregivers ---Food preparers Percentage of population using hygienic sanitation facilities | Percentage of households with year-round access to improved water source Percentage of households with access to a sanitation facility Percentage of recurrent costs for water supply services provided by the community served Percentage of constructed water supply systems operated and maintained by the communities served |

Billig et al, 1999.

Appendix B

Household questionnaire

Post-Mitch Community Reconstruction Sustainability Evaluation:

Household survey (2006)

Central America - Honduras, Nicaragua, El Salvador, and Guatemala

Country:	a. Honduras	b. Nicaragua	c. El Salvador	d. Guatemala

Community:	____________________________________

Interviewer:	__________________	Date:________________ day/month/year  Time: ________

A. Household information

- Did you participate in this study before?		Yes	No	DK

If “yes”, in which year (mark all that apply)? 	2000	2001	2002

- This house is ……..? (indicate one)

A. Own house

B. Temporary house/Shelter

C. Friends/family

D. Rental

E. Other_____________

- How many people normally sleep in this home? _____

- Among the people who sleep here, how many are children < 36 months (3 yrs) old? ______

- What is the highest level of education that you have completed?

None		Grades 1-6	Grades 7-9	High school 10-12	College

B. Use and collection of household water

May I speak to the person who is responsible for the water for the household?

- How much water did you gather yesterday from all sources for all of your household uses? _________ (liters)

6a.        Was it enough for the family's domestic needs?	Yes	No

- How many people, including people who aren’t in your family, used the water you collected yesterday? _______

- Where do you get MOST of your water for drinking and food preparation? (Indicate one)

A. shared spigot 			D. private well			G. by truck (purchased)

B. private spigot			E.  bottled/purchased 		H. other:_____________

C. shared well				F.  river/stream

- How far do you have to go to collect your water? _______varas________meters ________km

Distance in meters

(interviewer comments:  _______varas________meters ________km)

- Are livestock or wild animals able to get into the source waters, wells or pump area?

Yes		No		DK

(interviewer comments:  	Yes		No		DK)

- (a) Do you usually have to wait to get your water?  A. Always	B. Sometimes	        C. Never

If “A” or “B”, (b) how long do you usually wait? (read possible answers and indicate one)

A. Less than 15 minutes	B. 15 minutes to ½ hour   C. ½ to 1 hour      D.  More than an hour

- (a) Does your water source provide water throughout the day? 	Yes	No	DK

If “no”, (b) for how many hours a day is there water? __________hours

- (a) Does your water source provide water throughout the year? 	Yes	No	DK

If “no”, (b) where do you get your water when the source is dry? (choose one)

## A. shared spigot 			D. private well			G. by truck (purchased)

B. private spigot			E.  bottled (purchased)	H. other:_____________

C. shared well				F.  river/stream

- Do you have stored water in the house?	Yes		No

- (a) Do you have drinking water in this house?	Yes		No

If “yes”, (b) Is the container where the water is kept covered?	Yes 		No

Could you get me a glass of water as if you would offer it to someone to drink?

If yes, (c) how does the interviewee get the water? Dips in a ladle (has handle) C. Turns a faucet E. Other_______ Dips in a cup D. Pours it out

- (a) Did you treat your water for drinking TODAY?  	Yes		No

(b) How often do you treat your drinking water? 	A. Always	B. Sometimes	     C. Never

If ‘A’ or ‘B’ (c), how do you treat your water? (Do not read list of answers. Mark all that apply)

A. Chlorine	B.  Iodine      C. Boiling	D. Other ______________	     E. Do not treat

- How much do you pay per month for the water you receive? ___________(currency/month)

- Is your water supply operated and maintained by the community?  	Yes   No   DK

- Have you had any problem or do you have any suggestions regarding your water system? ____________________________________________________________________________________________________________________________________________________________

C. Hygiene behaviors

May I speak with the person who makes the food for the household?

Could you tell me before or after which activities do you wash your hands?

(Let them answer. Do not read possible answers, but you can say “are they any other times?)

- After defecation				Yes	No

- After cleaning baby’s bottoms		Yes	No

- Before food preparation			Yes	No

- Before eating					Yes	No

- Before feeding children			Yes	No

Would you explain and show me what you do when you wash your hands? (Do not prompt)

Handwashing technique:

- With water					Yes	No

- With soap					Yes	No

- With both hands				Yes	No

- Rub hands together at least 3 times		Yes	No

Hand drying technique:

- On a clean towel/cloth			Yes	No

- Air dry						Yes	No

- On clothing					Yes	No

- Other __________________					33. Total score:  _________

34.(a) Is there a place for household members to wash hands? Yes No If yes, (b) Is there soap? Yes No If yes, (c) Is there a clean towel or rag for drying hands? Yes No

D. Sanitary facilities

35.	(a) Did you receive a latrine after Hurricane Mitch? 	Yes        No

If “yes”, (b) How many years ago? _______ years

(c) Who gave it to you? ____________________

(d) Do you now have that same latrine? 	Yes        No

If “yes”, 36. The latrine is:  	A. Private	B. Shared

If “no”, 37. (a) What happened to the previous latrine? ___________________________

(b) Do you currently have a latrine? 	Yes        No

If “yes”, (c) Who gave it to you? _____________________

(d) How many years ago? ______ years

(e) The latrine is:  	A. Private	B. Shared

38. Have you had any problem or do you have any suggestions regarding your sanitary facility? ________________________________________________________________________________

If the house has PRIVATE OR SHARED  sanitary facilities, ask or answer questions 35-38.

Inspection of sanitary services (if the house has them)

39. What kind of bathroom is in the home? A. Don’t have (go outside) C. Compost latrine E. Other_________________ B. Dry pit latrine D. Flush latrine 40. Does it look like some one has cleaned the latrine recently (with water)? Yes No 41. Are there feces outside of toilet/latrine? Yes No 42. Are there flies? (indicate one answer) None (0) Few(1-3) Many (4+) 43. Are there signs of use of sanitary facilities? path to outhouse Yes No well swept Yes No in repair Yes No absence of spider webs Yes No other: _________________________________________ 44. Is there toilet paper? Yes No (check for other cleaning material_________) 44a. Is the toilet covered?

E. Health education

Have you heard a presentation on ….?

45…treating your water for household use?  	Yes   No

If “yes”,    Agency/person?	 When did they speak?   Where did they speak?  With whom (com/grp/ind)?

46.  a.______________     b.______________     c._______________     d.______________

47.  a.______________     b.______________     c._______________     d.______________

48.  a.______________     b.______________     c._______________     d.______________

49. (a) Have you shown anyone else how to treat the water? 	Yes   No

If “yes”, (b) to whom? ______________________

50… the use and care of your latrine or toilet?  	Yes   No

If “yes”,    Agency/person?	 When did they speak?   Where did they speak?  With whom (com/grp/ind)?

51.  a.______________     b.______________     c._______________     d.______________

52.  a.______________     b.______________     c._______________     d.______________

53.  a.______________     b.______________     c._______________     d.______________

54.  (a) Have you shown anyone else how to use and care for your toilet? 	Yes   No

If “yes”, (b) to whom? ______________________

55… handwashing practices?  	Yes  	No

If “yes”,    Agency/person?	 When did they speak?   Where did they speak?  With whom (com/grp/ind)?

56.  a.______________     b.______________     c._______________     d.______________

57.  a.______________     b.______________     c._______________     d.______________

58.  a.______________     b.______________     c._______________     d.______________

59. (a) Have you taught anyone else these handwashing practices? 	Yes   No

If “yes”, (b) to whom? ______________________

60.  (a) Has this house been affected by some other natural disaster or event that has affected your water and sanitation system?	Yes	No

(b) if “yes’, please describe: ______________________________________________________

Interviewee comments: ________________________________________________________________

____________________________________________________________________________________

Interviewer comments: _________________________________________________________________

____________________________________________________________________________________

Appendix C

Community Questionnaire

Post-Mitch Community Reconstruction Sustainability Evaluation:

Community Survey (2006)

Central America-Honduras, Nicaragua, El Salvador, and Guatemala

# (Present interviewer and qualifications)

Country:	a. Honduras	b. Nicaragua	c. El Salvador	d. Guatemala

Community: _____________________________________

Interviewer: ____________________________ 	Date: ________________ (day/month/year)

Interviewees: __________________________________________________________________

1.	How many households are in your community? __________________________________

2.	How many people are in your community? _____________________________________

3.	What kind of water system do you have now? ___________________________________

4.	(4a) Since when have you had a functioning and completed water system? ______ (day/mo/yr)

(4b) Who installed/provided the system? _________________________

(4c) Is the system still functioning?	Yes 	No

If no: (4d) When did it stop functioning?	___________ (day/mo/yr)

(4e) Why did it stop functioning? _____________________________________________

5.	(5a) Have there been any problems with the system since 2002?	Yes	No

If yes, please describe: ______________________________________________________

(5b) How is it repaired? ____________________________________________________

(5c) Is this person paid? 	Yes	No

(5d) How is this funded? ___________________________________________________

6.	(6a) Have you received help for taking care of the water system from outside of the community since 2002? 		Yes	No

If yes: (6B) from whom?

A. Red Cross				B. Local municipality		C. NGO

D. Government			E. Other __________________________________

7.       What is the monthly cost of water to the households receiving water? _____ (per household)

8.	(8a) Are the monthly fees collected from the households enough to pay for the operation and maintenance of the water system? 	Yes	No

If no: (8b) Where do the necessary funds come from for maintenance or repair?

______________________________________________________________________________

9.	Is there still a functioning water committee?	Yes	No

10.	Does the water committee have a savings account? 	Yes	 No

11.	(11a) Are there households in your community that do not receive this water supply?  Yes     No

If yes: (11b) How do these households get water? ________________________________

(11c)Why don’t these household receive water? __________________________________

12.	(12a) Is the water treated at a community level?	Yes 	No

If yes: (12b) What kind of treatment? ______________________________________________

(12c) When was the last time that it was treated? _____________ (day/mo/yr)

13.	(13a) Has your water been tested for contamination?  Yes		No

If yes: (13b) When was the last time it was tested? _________________________

(13c) Who tested it? ____________________________________

(13d) What did they find? 	A. contaminated   	B. not contaminated

(13e) Type of contamination 	A. chemicals    	B. microorganisms

(13f) If known, could you please provide more information about the type of contamination?

Specify type(s) of contamination (chemical/microbial): 	______________________________________________________________________________

14.	(14a) Given the choice today, would you choose the same water system option? 	Yes	No

If no:	(14b) Why not? __________________________________________________________

(14c) Which would you choose? _____________________________________________

(14d) Why? _____________________________________________________________

15.	What kind of sanitation system does your community have? _____________________________

16.	What year did this sanitation become available to the community? ______________________

17.	(17a) Are there households in your community that do not receive this sanitation? Yes 	No

If yes: (17b) What do these households use for sanitation? ______________________________

_____________________________________________________________________________

If yes: (17c) Why don’t these households receive these facilities? _________________________

_____________________________________________________________________________

18.	(18a) Given the choice today, would you choose the same sanitation system option for your

community? 	Yes	No

If no: 	(18b) Why not? __________________________________________________________

(18c) Which would you choose? _____________________________________________

(18d) Why? _____________________________________________________________

19.	(19a) Has there been any type of training about sanitation, hygiene or use of water?					Yes		No 		Don’t Know

If yes: (19b) When? __________________________________________________ (day/mo/yr)

(19c) Where? _________________________________________________________________

(19d) Who was the program geared to? _____________________________________________

(19e) Who provided the training? __________________________________________________

20.	Is your community receiving any assistance with food, such as Food Aid?      Yes     No 	DK

21. 	(21a) Has this community been affected by any natural disasters or other events since 2002 that have affected the water and sanitation systems? 	Yes 	No

If yes, (21b), please describe: _____________________________________________________

Comments_______________________________________________________________________________________________________________________________________________________________

Appendix D

Infrastructure evaluation

Infrastructure Sanitary Survey Evaluation

Water System Performance/Design

1. Is the system working? (i.e., water coming out of taps or pump?)

YES		NO

2. If working, how many hours per day is water delivered to taps:

- 16 - 24 hours

- 8 –16 hours

- less than 8 hours

- NA (on demand hand pump system)

3. Functionality of components:

a. Catchment structure or well:

All valves function well? (test them)		YES		NO		NA

Cracks or leaks in structures?			YES		NO		NA

Clean inside spring box or behind dam?	YES		NO		NA

Catchment or well structures fenced in?	YES		NO		NA

Are there latrines or other sources of 		YES		NO		NA

contamination (livestock, cesspools, etc.) within 100 feet of the catchment or well?

If so, what and how far away?

For springs and dams:

what is upstream of the catchment structure? (forest, grazing land, houses, roads, etc.)

For wells:

Hand pump function well? (test it)		YES		NO		NA

Well casing extend 18” above ground or	YES		NO		NA

normal flood level?

Top of well casing sealed from surface	YES		NO		NA

water, rain water, or contaminants?

Is the well sealed at the ground surface?	YES		NO		NA

(i.e, can surface water, rain water, or contaminants enter the well at the ground surface?

b. Conduction line from source to tank:

Leaks in pipes or joints?			YES		NO		NA

Exposed PVC pipe in line?			YES		NO		NA

Clean out valves and air valves working?	YES		NO		NA

c. Storage Tank:

All valves function well?			YES		NO		NA

Cracks or leaks in structure?			YES		NO		NA

Clean inside?					YES		NO		NA

Hatch covers in good shape?			YES		NO		NA

Covers locked?				YES		NO		NA

Tank fenced in?				YES		NO		NA

d. Treatment System:

Is there any treatment system?		YES		NO		NA

If yes, what type:

- sedimentation tank

- chlorination

- other (specify): _________________

Is it working?				YES		NO

e. Distribution Network:

Are there leaks in distribution network?	YES		NO		NA

Are there leaks in domestic connections?	YES		NO		NA

Does water arrive at all taps?			YES		NO		NA

4. Does the design of the system match the design information given to you by the watsan delegate?

YES		NO

If no, describe the differences and their significance.

Sanitation Facility Performance/Design

##### (to be answered by visiting a sample of the latrines constructed in each community)

# 5. Given the type of latrine constructed, was it built properly?

# YES 		NO		Type_____________________________

comments (especially if improperly constructed):

6. Is it being operated properly?

YES 		NO

comments (especially if improperly operated):

7. Does the design match the design information given to you by the watsan delegate?

YES		NO

If no, describe the differences and their significance.

Appendix E

Financial assessment of water system operations in Las Pozas, El Salvador

Financial Summary: January 2006

| Total Income = $2,351.40 | Cost |
| --- | --- |
| Expenses: |  |
| Administration (salaries, electricity, etc.) | $1,110.27 |
| Service (plumbers) | $779.56 |
| Chlorine | $45.00 |
| Total Expenses | $1,934.83 |
| Normal operating expenses | ~$2,000 per month |

| Financial Assets on Hand | January 2006 |
| --- | --- |
| Cash | $197.63 |
| Bank accounts | $2,297.10 |
| Total | $2,494.73 |

Calculation of minimum number of customers to cover operating expenses:

| Normal monthly water tariff* | $3.43 |
| --- | --- |
| Normal operating expenses | $2,000 / 583 connections |

*water is metered and high volume consumers pay more, but vast majority of consumers in this residential area pay the standard tariff

Appendix F

Household questionnaire with frequencies

Regional Results						June 2006

Post-Mitch Community Reconstruction Sustainability Evaluation:

Household survey (2006)

Central America - Honduras, Nicaragua, El Salvador, and Guatemala

Country:	a. Honduras	b. Nicaragua	c. El Salvador	d. Guatemala

Community:	____________________________________

Interviewer:	__________________	Date:________________ day/month/year  Time: ________

A. Household information

1.	Did you participate in this study before?	Yes	No	DK

| 1. | Yes (%) | No (%) | Don't Know (%) |
| --- | --- | --- | --- |
| 2006 | 43 (45.4) | 43 (45.4) | 7 (7.5) |
| 2002 | 395 (69.7 | 134 (23.6) | 38 (6.7) |

If “yes”, in which year (mark all that apply)? 	2000	2001	2002

|  | 2000 (%) | 2001 (%) | 2002 (%) | Don’t Know (%) |
| --- | --- | --- | --- | --- |
| 2006 | 6 (14.0) | 13 (30.2) | 14 (32.6) | 10 (23.3) |
| 2002 | 29 (7.3) | 214 (54.0) | 596 |  |

2.	This house is ……..? (indicate one)

A. Own house

B. Temporary house/Shelter

C. Friends/family

D. Rental

E. Other_____________

| 2. | A (%) | B (%) | C (%) | D (%) | E (%) |
| --- | --- | --- | --- | --- | --- |
| 2006 | 84 (89.4) | -- | 4 (4.3) | 5 (5.3) | 1 (1.1) |
| 2002 | 511 (89.8) | 2 (0.4) | 34 (6.0) | 14 (2.5) | 8 (1.4) |

3.	How many people normally sleep in this home? _____

| 3. | Mean | Median | SD | Range |
| --- | --- | --- | --- | --- |
| 2006 | 5.7 | 5.0 | 2.4 | 1 to 13 |
| 2002 | 5.1 | 5.0 | 2.3 | 0 to 17 |

4.	Among the people who sleep here, how many are children < 36 months (3 yrs) old? ______

| 4. | 0 | 1 (%) | 2 (%) | >2 (%) |
| --- | --- | --- | --- | --- |
| 2006 | 53 (56.4) | 28 (29.8) | 13 (13.8) | -- |
| 2002 | 315 (55.4) | 200 (35.2) | 51 (9.0) | 3 (0.5) |

5.	What is the highest level of education that you have completed?

| 5. | 0 (%) | 1-6 (%) | 7-9 (%) | 10-12 (%) |
| --- | --- | --- | --- | --- |
| 2006 | 44 (47.8) | 40 (43.5) | 6 (6.5) | 2 (2.2) |
| 2002 | 258 (45.3) | 280 (49.2) | 27 (1.2) | 4 (0.7) |

B. Use and collection of household water

May I speak to the person who is responsible for the water for the household?

6.	How much water did you gather yesterday from all sources for all of your household uses? _________ (liters)

| 6. | n | Mean | Median | SD | Range |
| --- | --- | --- | --- | --- | --- |
| 2006 | 93 | 225 | 209 | 216 | 0 to 1045 |
| 2002 | 569 | 332 | 190 | 427 | 0 to 3228 |

6a.        Was it enough for the family's domestic needs?

| 6a. |  |
| --- | --- |
| Yes | % |
| 91 | 96.8 |

7.	How many people, including people who aren’t in your family, used the water you collected yesterday? _______

| 7. | n | Mean | Median | SD | range |
| --- | --- | --- | --- | --- | --- |
| 2006 | 94 | 5.7 | 5.5 | 2.5 | 2 to 13 |
| 2002 | 569 | 5.1 | 5.0 | 2.6 | 0 to 20 |

8.	Where do you get MOST of your water for drinking and food preparation? (Indicate one)

A. shared spigot 			D. private well			G. by truck (purchased)

B. private spigot			E.  bottled/purchased 		H. other:_____________

C. shared well				F.  river/stream

| 8. | A (%) | B (%) | C (%) | D (%) | E (%) | F (%) | G (%) | H (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2006 | 8 (8.5) | 85 (90.4) | 1 (1.1) | 0 | 0 | 0 | 0 | 0 |
| 2002 | 87 (15.3) | 459 (80.8) | 17 (3.0) | 2 (0.4) | 0 | 2 (0.4) | 1 (0.2) | 0 |

9.	How far do you have to go to collect your water? _______varas________meters ________km

Distance in meters

| 9. | n | Mean | Median | SD | Range |
| --- | --- | --- | --- | --- | --- |
| 2006 | 49 | 98 | 3 | 376 | 1 to 2500 |
| 2002 | 566 | 38.6 | 4 | 132 | 0 to 999 |

(interviewer comments:  _______varas________meters ________km)

|  | n | Mean | Median | SD | Range |
| --- | --- | --- | --- | --- | --- |
| 2006 | 90 | 25 | 3 | 95 | 0 to 500 |
| 2002 | 565 | 39 | 5 | 132 | 0 to 999 |

10.	Are livestock or wild animals able to get into the source waters, wells or pump area?

Yes		No		DK

| 10. | n | Yes (%) | No (%) | Don't know (%) |
| --- | --- | --- | --- | --- |
| 2006 | 89 | 3 (3.4) | 85 (95.5) | 1 (1.1) |
| 2002 | 567 | 68 (12.0) | 399 (70.4) | 100 (17.6) |

(interviewer comments:  	Yes		No		DK)

|  | n | Yes (%) | No (%) | Don't know (%) |
| --- | --- | --- | --- | --- |
| 2006 | 71 | 3 (4.2) | 67 (94.4) | 1 (1.4) |
| 2002 | 566 | 111 (19.6) | 339 (59.9) | 116 (20.5) |

11.	(a) Do you usually have to wait to get your water?  A. Always	B. Sometimes	        C. Never

| 11a. | A (%) | B (%) | C (%) |
| --- | --- | --- | --- |
| 2006 | -- | -- | 1 |
| 2002 | 32 (5.6) | 33 (5.8) | 503 (88.6) |

If “A” or “B”, (b) how long do you usually wait? (read possible answers and indicate one)

A. Less than 15 minutes	B. 15 minutes to ½ hour   C. ½ to 1 hour      D.  More than an hour

12.	(a) Does your water source provide water throughout the day? 	Yes	No	DK

| 12a. | Yes (%) | No (%) |
| --- | --- | --- |
| 2006 | 65 (69.2) | 39 (30.9) |
| 2002 | 405 (71.2) | 164 (28.8) |

If “no”, (b) for how many hours a day is there water? __________hours

| 12b. | n | Mean | Median | SD | Range |
| --- | --- | --- | --- | --- | --- |
| 2006 | 28 | 2.8 | 2.0 | 2.4 | 0 to 12 |
| 2002 | 164 | 3.1 | 2.0 | 4.1 | 0 to 23 |

13.	(a) Does your water source provide water throughout the year? 	Yes	No	DK

| 13a. | Yes (%) | No (%) | Don't know (%) |
| --- | --- | --- | --- |
| 2006 | 71 (75.5) | 23 (24.5) | 0 |
| 2002 | 465 (81.7) | 37 (6.5) | 67 (11.8) |

If “no”, (b) where do you get your water when the source is dry? (choose one)

## A. shared spigot 			D. private well			G. by truck (purchased)

B. private spigot			E.  bottled (purchased)	H. other:_____________

C. shared well				F.  river/stream

| 13b. | n | A (%) | B (%) | C (%) | D (%) | E (%) | F (%) | G (%) | H (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2006 | 22 | 6 (27.3) | 5 (22.7) | 1 (4.6) | 1 (4.6) | 0 | 6 (27.3) | 1 (4.6) | 2 (9.1) |
| 2002 | 38 | 8 (21.1) | 4 (10.5) | 11 (29.0) | 0 | 0 | 12 (31.6) | 1 (2.6) | 2 (5.3) |

14.	Do you have stored water in the house?	Yes		No

15.	(a) Do you have drinking water in this house?	Yes		No

If “yes”, (b) Is the container where the water is kept covered?	Yes 		No

|  | 2006 | 2002 |
| --- | --- | --- |
|  | Yes (%) | No (%) | DK*(%) | Yes (%) | No (%) | DK (%) |
| 14. Stored water | 88 (93.6) | 6 (6.4) | 0 | 527 (92.6) | 42 (7.4) | 0 |
| 15a. Drinking water | 87 (92.6) | 7 (7.5) | 0 | 548 (96.3) | 21 (3.7) | 0 |
| 15b. Covered water | 70 (80.5) | 14 (16.1) | 3 (3.5) | 473 (83.1) | 45 (7.9) | 51 (9.0) |

*DK= don’t know

Could you get me a glass of water as if you would offer it to someone to drink?

If yes, (c) how does the interviewee get the water? Dips in a ladle (has handle) C. Turns a faucet E. Other_______ Dips in a cup D. Pours it out Year n A (%) B (%) C (%) D (%) E (%) 2006 92 2 (2.1) 36 (38.3) 10 (10.6) 44 (46.8) -- 2002 559 48 (8.6) 233 (41.7) 91 (16.3) 185 (33.1) 2 (0.4)

16.	(a) Did you treat your water for drinking TODAY?  	Yes		No

| 16a. | Yes (%) | No (%) |
| --- | --- | --- |
| 2006 | 8 (8.5) | 86 (91.5) |
| 2002 | 171 (30.3) | 394 (69.7) |

(b) How often do you treat your drinking water? 	A. Always	B. Sometimes	     C. Never

| 16b. | n | A (%) | B (%) | C (%) |
| --- | --- | --- | --- | --- |
| 2006 | 84 | 8 (9.5) | 12 (14.3) | 64 (76.2) |
| 2002 | 565 | 171 (30.3) | 394 (69.7) | 0 |

If ‘A’ or ‘B’ (c), how do you treat your water? (Do not read list of answers. Mark all that apply)

A. Chlorine	B.  Iodine      C. Boiling	D. Other ______________	     E. Do not treat

| 16c. | n | A (%) | B (%) | C (%) | D (%) |
| --- | --- | --- | --- | --- | --- |
| 2006 | 21 | 11 (52.4) | 0 | 6 (28.6) | 4 (19.1) |
| 2002 | 11 | 0 | 0 | 8 (72.7) | 3 (27.3) |

17.	How much do you pay per month for the water you receive? ___________(currency/month)

| n | Currency | Mean | Range | Exchange rate | USD |
| --- | --- | --- | --- | --- | --- |
| 14 | Cordobas | 5.00 | 0 to 10 | 17.30:1 | 0.29 |
| 31 | Lempiras | 27.74 | 20 to 35 | 18.85:1 | 1.47 |
| 16 | Quetzales | 3.38 | 0 to 10 | 7.4:1 | 0.46 |
| 1 | Colones* | 30.00 | -- | 8.75:1 | 3.43 |
| 31 | USD | 4.63 | 0 to 12 | 1:1 | 4.63 |

*One respondent in El Salvador gave the water cost in Colones, not the official currency (USD).

Regional mean and median water cost in US dollars among respondents who reported paying for water

| Year | n | Mean | Median | SD | Range |
| --- | --- | --- | --- | --- | --- |
| 2006 | 80 | $2.55 | $1.86 | 2.26 | $0.14 to $12.00 |
| 2002 | 567 | $1.89 | $0.90 | 1.66 | $0.21 to $10.50 |

18.	Is your water supply operated and maintained by the community?  	Yes   No   DK

| 18. | Yes (%) | No (%) | Don't know (%) |
| --- | --- | --- | --- |
| 2006 | 92 (97.9) | 0 | 2 (2.1) |
| 2002 | 534 (94.7) | 5 (0.9) | 25 (4.4) |

19.	Have you had any problem or do you have any suggestions regarding your water system? ____________________________________________________________________________________________________________________________________________________________

C. Hygiene behaviors

May I speak with the person who makes the food for the household?

Could you tell me before or after which activities do you wash your hands?

(Let them answer. Do not read possible answers, but you can say “are they any other times?)

20.	After defecation				Yes	No

21.	After cleaning baby’s bottoms		Yes	No

22.	Before food preparation			Yes	No

23.	Before eating					Yes	No

24.	Before feeding children			Yes	No

| Handwashing activities | 2006 | 2002 |
| --- | --- | --- |
|  | n | % | n | % |
| 20. After defecation | 72 | 76.6 | 494 | 87.0 |
| 21. After cleaning baby | 15 | 16.0 | 176 | 31.0 |
| 22. Before food prep | 85 | 90.4 | 505 | 88.9 |
| 23. Before eating | 58 | 61.7 | 427 | 75.2 |
| 24. Before feeding children | 27 | 28.7 | 248 | 43.7 |

Would you explain and show me what you do when you wash your hands? (Do not prompt)

Handwashing technique:

25.	With water					Yes	No

26.	With soap					Yes	No

27.	With both hands				Yes	No

28.	Rub hands together at least 3 times		Yes	No

| Handwashing | 2006 | 2002 |
| --- | --- | --- |
|  | n | % | n | % |
| 25. Water | 92 | 97.9 | 562 | 98.8 |
| 26. Soap | 81 | 86.2 | 489 | 85.9 |
| 27. Both hands | 88 | 93.6 | 557 | 97.9 |
| 28. Rub hands | 83 | 88.3 | 521 | 91.6 |

Hand drying technique:

29.	On a clean towel/cloth			Yes	No

30.	Air dry						Yes	No

31.	On clothing					Yes	No

32.	Other __________________

| Hand drying | 2006 | 2002 |
| --- | --- | --- |
|  | n | % | n | % |
| 29. Towel | 55 | 55 | 175 | 30.8 |
| 30. Air | 25 | 25 | 211 | 37.1 |
| 31. Clothing | 15 | 15 | 215 | 37.8 |
| 32. Other | 5 | 5 | 11 | 1.9 |

33. Total score:  _________

Total Scores

| Year | N | Mean | Median | Range |
| --- | --- | --- | --- | --- |
| 2006 | 93 | 7.3 | 7.0 | 2 to 10 |
| 2002 | 306 | 8.2 | 9.0 | 2 to 10 |

34.(a) Is there a place for household members to wash hands? Yes No If yes, (b) Is there soap? Yes No If yes, (c) Is there a clean towel or rag for drying hands? Yes No 2006 2002 n % n % 34a. Place 90 95.7 537 94.4 34b. Soap 77 81.9 466 81.9 34c. Towel 33 35.1 166 29.2

D. Sanitary facilities

35.	(a) Did you receive a latrine after Hurricane Mitch? 	Yes        No

If “yes”, (b) How many years ago? _______ years

(c) Who gave it to you? ____________________

(d) Do you now have that same latrine? 	Yes        No

If “yes”, 36. The latrine is:  	A. Private	B. Shared

|  | 2006 | 2002 |
| --- | --- | --- |
|  | n | % | n | % |
| 35a. Post-Mitch latrine? |  |  |  |  |
| Yes | 76 | 80.9 | N/A |  |
| No | 12 | 12.8 |  |  |
| Don’t know | 6 | 6.4 |  |  |
| 35d. Same latrine? |  |  |  |  |
| Yes | 62 | 81.6 | N/A |  |
| No | 14 | 18.4 |  |  |
| 36. Latrine is: |  |  |  |  |
| Private | 60 | 96.8 | N/A |  |
| Shared | 2 | 3.2 | N/A |  |

If “no”, 37. (a) What happened to the previous latrine? ___________________________

(b) Do you currently have a latrine? 	Yes        No

If “yes”, (c) Who gave it to you? _____________________

(d) How many years ago? ______ years

(e) The latrine is:  	A. Private	B. Shared

|  | 2006 |
| --- | --- |
|  | n | % |
| 37b. Have latrine* |  |  |
| Yes | 29 | 30.9 |
| No | 3 | 3.2 |
| 37e. Latrine is: |  |  |
| Private | 29 | 100 |
| Shared | 0 | 0 |

Total number of people who have latrines in 2006 compared to 2002

|  | 2006* | 2002 |
| --- | --- | --- |
| Have latrines | n | % | n | % |
| Private | 89 | 97.8 | 547 | 96.1 |
| Shared | 2 | 2.2 | 6 | 1.1 |
| Don’t have | 0 | -- | 16 | 2.8 |

38. Have you had any problem or do you have any suggestions regarding your sanitary facility? ____________________________________________________________________________________________________________________________________________________________

If the house has PRIVATE OR SHARED  sanitary facilities, ask or answer questions 35-38.

Inspection of sanitary services (if the house has them)

39. What kind of bathroom is in the home? A. Don’t have (go outside) C. Compost latrine E. Other_________________ B. Dry pit latrine D. Flush latrine 40. Does it look like some one has cleaned the latrine recently (with water)? Yes No 41. Are there feces outside of toilet/latrine? Yes No 42. Are there flies? (indicate one answer) None (0) Few(1-3) Many (4+) 43. Are there signs of use of sanitary facilities? path to outhouse Yes No well swept Yes No in repair Yes No absence of spider webs Yes No other: _________________________________________ 44. Is there toilet paper? Yes No (check for other cleaning material_________) 44a. Is the toilet covered? 2006 2002 Yes % Yes % 39a. Don’t have 2 2.1 16 2.8 b. Dry pit 40 42.6 218 38.3 c. Compost 25 26.6 160 28.1 d. Flush 25 26.6 174 30.6 e. Other 2 2.1 1 0.2 40. Cleaned? 64 68.1 429 78.6 41. Feces? 12 12.8 37 6.7 42. None 68 75.6 429 77.7 Few 15 16.7 100 17.1 Many 7 7.8 23 4.2 43a. Path 88 93.6 505 91.5 b. Swept 73 77.7 431 78.1 c. Repair 79 84.0 22 4.0 d. Webs 88 93.6 39 7.1 e. Other -- -- 4 0.7 44. Paper ? 70 74.5 354 64.3 44a.Covered? 32 34.0 N/A N/A

E. Health education

Have you heard a presentation on ….?

45…treating your water for household use?  	Yes   No

If “yes”,    Agency/person?	 When did they speak?   Where did they speak?  With whom (com/grp/ind)?

46.  a.______________     b.______________     c._______________     d.______________

47.  a.______________     b.______________     c._______________     d.______________

48.  a.______________     b.______________     c._______________     d.______________

49. (a) Have you shown anyone else how to treat the water? 	Yes   No

If “yes”, (b) to whom? ______________________

50… the use and care of your latrine or toilet?  	Yes   No

If “yes”,    Agency/person?	 When did they speak?   Where did they speak?  With whom (com/grp/ind)?

51.  a.______________     b.______________     c._______________     d.______________

52.  a.______________     b.______________     c._______________     d.______________

53.  a.______________     b.______________     c._______________     d.______________

54.  (a) Have you shown anyone else how to use and care for your toilet? 	Yes   No

If “yes”, (b) to whom? ______________________

55… handwashing practices?  	Yes  	No

If “yes”,    Agency/person?	 When did they speak?   Where did they speak?  With whom (com/grp/ind)?

56.  a.______________     b.______________     c._______________     d.______________

57.  a.______________     b.______________     c._______________     d.______________

58.  a.______________     b.______________     c._______________     d.______________

59. (a) Have you taught anyone else these handwashing practices? 	Yes   No

If “yes”, (b) to whom? ______________________

| Received health education | 2006 | 2002 |
| --- | --- | --- |
|  | Yes | % | Yes | % |
| 45. Water treatment | 56 | 59.6 | 445 | 78.4 |
| 50. Latrine use/maintenance | 60 | 63.8 | 457 | 80.7 |
| 55. Hand washing | 64 | 68.1 | 445 | 78.4 |

60.  (a) Has this house been affected by some other natural disaster or event that has affected your water and sanitation system?	Yes	No

| 60. | Yes | % |
| --- | --- | --- |
| Disaster | 12 | 12.9 |

(b) if “yes’, please describe: ______________________________________________________

Interviewee comments: ________________________________________________________________

____________________________________________________________________________________

Interviewer comments: _________________________________________________________________

____________________________________________________________________________________