LIST OF OXFAM-DELAGUA

WATER TESTING KIT TRAINING VIDEOS INCLUDED IN THIS CD

1. Introducing the Del Agua Kit  The Del Agua kit was first introduced in the mid 80's to overcome the problem of lack of access to testing laboratories. It is now used widely all over the World by both Government and Non-Government Organisations. This video gives a brief introduction to what is in the kit and what parameters it can measure.

2. Del Agua Kit Components  This video shows you all the components supplied with the Del Agua kit. View this video if you are considering purchasing.

3. Maintenance of Incubator  Tips on maintaining the incubator's battery and advice on checking and adjusting its temperature calibration.

4. Preparation of Membrane Lauryl Sulphate Broth (growth medium)  Advice on how to prepare and store growth medium used for culturing thermotolerant, (faecal), coliforms.

5. Sterilization of Equipment  Advice on various methods of sterilizing your equipment in preparation for bacteriological testing.

6. Preparation of Petri Dishes  Preparing your petri dishes.

7. Sample Analysis  This is a step by step guide of how to perform a bacteriological test, using the components in the DelAgua kit.

8. Counting Colonies  Practical advice on counting colonies of coliforms on your membrane filter.

9. Measuring Turbidity  Step by step guide to measuring the turbidity of your water sample.

10. pH and Chlorine Testing  Step by step guide to measuring pH, free and total chlorine using colour comparator tests and PalinTest reagents. Learn how you might be able to dispense with bacteriological testing if a free chlorine residual is present.