PRACTICAL FORM

WATER ABSTRACTION SUBMODULE INSTALLATION

AIMS:

To install all the components of the water abstraction submodule.

TIME: 1 hour

PARTICIPANTS:

The course is divided into two groups.

MATERIALS:

- Box SP/ERU/WATSAN/EQU/CAP/01 A

- Box SP/ERU/WATSAN/EQU/CAP/02 A

- Box SP/ERU/WATSAN/EQU/CAP/02 A

- Pallet SP/ERU/WATSAN/EQU/CAP/03 A

HANDOUTS:

None

LOCATION:

Flat area. In the proximity of a water source and with a inclination between the pump position and the place of the tanks. There must be sufficient space to install the 30,000 litre and 10,000 litre tanks plus space for future practices. The water pretreatment, water treatment, water networking, distribution and mass water practicals will be perform in this area.

PRACTICAL DESCRIPTION:

There must be at least two facilitators for the implementation of this practical. The facilitators will closely work with one of the two groups.

One of the groups implements activity a) and the other activity b). The last 10 minutes are used to meet both groups and comment on the development of the practical.

Activity a) Installation of the water abstraction submodule pump close to the chosen water

source. Installation of the 30.000 litre art of water abstraction submodule. Water

pumping and tank filling (40 min.).

Activity b) Same practical as activity a) but using the 10.000 litre onion tank and a different pump

(40 min).

If possible, the materials remain operative on the site once the practical finishes. They will be used in the following practicals.

PHOTOS:

Installation of the 30.000 litre tank with metallic structure

(SRC WATSAN M15 ERU training course Madrid 2005)

(1)

(2)

(3)

(4)

(5)

30.000 litres tank with metallic structure and

10.000 litre onion tank.

(SRC WATSAN M15 ERU training course Madrid 2005)

30.000 litre onion tank half full

(SRC WATSAN M15 ERU deployment Pakistan 2007)

# Text boxes

QUIROFANO