SESSION FORM

WATER ANALYSIS. LABORATORY

AIMS:

a) To learn the parameters analysed with the WATSAN M15 ERU laboratory equipment.

b) To learn the values of those parameters according to Spanish and European Union legislation, and the World Health Organisation.

c) To learn how the procedure to take water samples.

d) To know the main components of the laboratory.

e) To learn when and which parameters are analysed during the different parts of the water abstraction, treatment and distribution process.

e) To carry out the measurement of 6 parameters.

TIME: 2 hours 15 minutes

CONTENTS:

Activity a) Presentation: “Water analysis and control” (60 min.)

Activity b) Practical: Turbidity (15 min)

Activity c) Practical: pH and Chlorine (15 min.)

Activity d) Practical: Conductivity (15 min.)

Activity e) Practical: Nitrites (15 min.)

Activity  f)  Practical: Aluminium (15 min)

HANDOUTS:

- “Water analysis handbook” per participant  (PRACTICAL)

- “Field log book” per participant  (PRACTICAL)

BIBLIOGRAPHY:

a)   Guidelines for Drinking-water quality

World Health Organisation (WHO)        http://www.who.int/water_sanitation_health/dwq/gdwq0506.pdf

b)    Water analysis in emergency situations   http://www.oxfam.org.uk/resources/downloads/emerg_manuals/draft_oxfam_tech_brief_watertest.pdf